## DF PRICE LIST
Digital Farming Technologies
Effective: June 1, 2025
All item numbers, model numbers and pricing is subject to change without notice.
Refer to the PDF or printed Price List for Terms and Conditions of Sale.
Prices in the Price List posted on the Netafim USA website take precedence over pricing in this spreadsheet.
Category Code: Y
GrowSphere ONE - Monitoring
Item Number | Model Number | Description | Price Each
74715-000014 | 31GSONEREMOTEPANEL | GROWSPHERE ONE 3 Analog Inputs, 2 Digital Inputs, and 1 Serial (RS232) Inputs. Remote Solar panel and antenna with 15 foot cable. | 1050
74715-000013 | 31GSONESOLARPANEL | GROWSPHERE ONE 3 Analog Inputs, 2 Digital Inputs, and 1 Serial (RS232) Inputs. Integrated Solar panel and antenna | 1024
GrowSphere MAX - Control and Monitoring
Item Number | Model Number | Description | Price Each
74702-000080 | 31GSMAX6DO12DICNFG | GrowSphere MAX Controller: includes touch screen display, 110VAC power supply, CPU PM5052 Module, 6 expansion slots, Double Door enclosure. CPU PM5052 Module includes, 6 x Digital Outputs, 12 Digital Inputs, 1 x RS232 module and 1 x RS485 module. | 7589
GrowSphere MAX Expansion Options
Item Number | Model Number | Description | Price Each
74743-000098 | 31GSMAXDO573-16OUT | GrowSphere DO573 Output Module: includes 16 Normally Open 24VAC digital outputs. 2.0A per Output. 2 x 8 Output Isolation Groups, 10.0A per group. Shared common. Visual LED operation indicator. | 397
74743-000099 | 31GSMAXDO572-8OUT | GrowSphere DO572 Dosing Module: includes 8 Normally Open 24VAC TRIAC digital outputs. 2.0A per Output. 2.0A fuse per Output. 1 x 8 Output Isolation Groups, 10.0A per group. Visual LED operation indicator. | 397
74743-000100 | 31GSMAXAI561-4AI | GrowSphere AI561 Analog Input Module: includes 4 Analog Inputs, 24VDC Feed Voltage, 0-20mA, 4-20mA, 12 Bit, 250Ohm resistance. | 397
74743-000101 | 31GSMAXDI562-16DI | GrowSphere DI562 Digital Input Module: includes 16 Digital Inputs, 2 x 8 Input Isolation Groups. Shared common. | Call for Quote
GrowSphere Weather Station (DAVIS)
Item Number | Model Number | Description | Price Each
74730-000050 | 31GSWSDIRECTWIRE | Davis Vantage Pro2™ Weather Station - Includes all required accessories to connect the Weather Station via RS232 to a compatible GrowSphere OS Device | 2181
GrowSphere Sensor Options
Item Number | Model Number | Description | Price Each
70261-011000 | 36FM.75RG.1 | Fertilizer flow meter, ¾" Polyproylene, 0.1 USG/pulse | 556
70261-011030 | 36FM.75RG1 | Fertilizer flow meter, ¾" Polyproylene, 1 USG/pulse | 556
70261-011300 | 36FM1RG1 | Fertilizer flow meter, 1" PVC, 1 USG/pulse | 1413
00107-014020 | 31PT200-4-20MA | Pressure transducer, 200 psi, 4-20 mA, 1/4 MIPT, M12 Male connector | 836
00107-014021 | 31PTCABLE2M | Pressure transducer cable, 6 ft, M12 Female connector | 34.65
74730-000001 | 31NBIRROMETERMS30 | Irrometer tensiometer, most soils, 30 cm (12 in) | 412
74730-000002 | 31NBIRROMETERMS60 | Irrometer tensiometer, most soils, 60 cm (24 in) | 428
74730-000003 | 31NBIRROMETERMS90 | Irrometer tensiometer, most soils, 90 cm (36 in) | 447
74730-000004 | 31NBIRROMETERSS30 | Irrometer tensiometer, sandy soils, 30 cm (12 in) | 139
74730-000005 | 31NBIRROMETERSS60 | Irrometer tensiometer, sandy soils, 60 cm (24 in) | 143
74730-000006 | 31NBIRROMETERSS90 | Irrometer tensiometer, sandy soils, 90 cm (36 in) | -
74730-000010 | 31NBDTSM150T | Delta-T SM150T Kit: includes sensor & cable | 987
74740-000300 | 31NBDTSM150TEXT | Delta-T SM150T extension cable, 25 m (82 ft) | 285
GrowSphere Profile Soil Moisture Probe
Item Number | Model Number | Description | Price Each
74730-000007 | 31NETACAPSMP8INCH | 8 INCH NETACAP SOIL PROBE | 605
74730-000013 | 31NETACAPSMP12INCH | 12 INCH NETACAP SOIL PROBE | 661
74730-000008 | 31NETACAPSMP16INCH | 16 INCH NETACAP SOIL PROBE | 722
74730-000009 | 31NETACAPSMP24INCH | 24 INCH NETACAP SOIL PROBE | 768
74730-000011 | 31NETACAPSMP32INCH | 32 INCH NETACAP SOIL PROBE | 768
74730-000021 | 31NETACAPSMP47INCH | 47 INCH NETACAP SOIL PROBE | 891
74730-000022 | 31NETACAPSMP59INCH | 59 INCH NETACAP SOIL PROBE | 987
74730-000023 | 31NETACAPSMP71INCH | 71 INCH NETACAP SOIL PROBE | 1078
RadioNet - Host and Base
Item Number | Model Number | Description | Price Each
74360-007600 | 31RNHBKIT | RadioNet Host Kit, for use with GrowSphere MAX controller, includes host, base, battery, battery charger, antenna with 33' cable, PoleNet programming cable, screwdriver, mounting hardware | 5316
74330-012000 | 31RNHOST | RadioNet Host, for use with NMC Pro/DC controllers | 1635
74330-012100 | 31RNBASE | RadioNet Base Radio, 450 to 470 MHz, 100mW | 817
74330-003010 | 31RN3BATCHARGER | RadioNet Host Battery Charger, 110VAC to 12VDC | 247
00107-008101 | 31RNBATT12VDC | Rechargeable Battery, 12VDC 24AH SLA | 244
00035-014780 | 31POLENETCABLE | Polenet USB RJ45 Programming Cable | 194
RadioNet - 2X2 RTU
Item Number | Model Number | Description | Price Each
74330-012195 | 31RNRTU2X2 | RadioNet 2x2 RTU, 2 latching outputs, 2 digital inputs, not expandable, can act as a repeater | 638
74330-005760 | 31RNSOLARPAN3W | RadioNet Solar Panel Kit, 9V 3W, includes solar panel, mounting bracket, charging regulator, requires rechargeable battery | 229
74330-003025 | 31RNRECHARBATT6V | RadioNet RTU Rechargeable Battery, 6VDC SLA, requires solar panel kit | 98.7
74330-002960 | 31RNSOLCHGREG | RadioNet solar panel charging regulator | 183
74330-010200 | 31RTULITHBATT | RadioNet RTU Lithium Metal Battery pack, 7.2VDC 8.5 AH, non-rechargeable | 132
74330-005020 | 31RNANTG10FT | Antenna with 10' cable | 146
74330-005060 | 31RNANG19FT | Antenna with 19' cable | 161
74330-005120 | 31RNANTG33FT | Antenna with 33' cable | 355
RadioNet - Expandable RTU
Item Number | Model Number | Description | Price Each
74330-012200 | 31RNRTU | RadioNet Expandable RTU, 1 latching output, 2 digital inputs, 4 expansion slots, expandable to 9 latching outputs and 10 digital inputs, can act as a repeater | 673
74330-013140 | 31RNEXPCARD | RadioNet RTU Expansion Card, 2 latching outputs, 2 digital inputs, limit 4 per expandable RTU | 86
74330-005760 | 31RNSOLARPAN3W | RadioNet Solar Panel Kit, 9V 3W, includes solar panel, mounting bracket, charging regulator, requires rechargeable battery | 229
74330-003025 | 31RNRECHARBATT6V | RadioNet RTU Rechargeable Battery, 6VDC SLA, requires solar panel kit | 98.7
74330-002960 | 31RNSOLCHGREG | RadioNet solar panel charging regulator | 114
74330-010200 | 31RTULITHBATT | RadioNet RTU Lithium Metal Battery pack, 7.2VDC 8.5 AH, non-rechargeable | 162
74330-005020 | 31RNANTG10FT | Antenna with 10' cable | 146
74330-005060 | 31RNANG19FT | Antenna with 19' cable | 161
74330-005120 | 31RNANTG33FT | Antenna with 33' cable | 176
RadioNet - DCP RTU (Control and Monitoring )
Item Number | Model Number | Description | Price Each
74330-012230 | 31RNDCP | R-Net DCP RTU 1XAI 3XDI Exclude Cap Card | 755
74330-012240 | 31RNRTUCAP | R-Net DCP Capacitor Card | 140
74370-003300 | 31RNDCPAIEXP | R-Net DCP Expansion Card 2 X AI | 258
00035-013150 | 31RNSERIALEXPCARD | R-Net Serial Expansion Card RS232/485/SDI12 | 214
74330-012250 | 31RNDFMEXPCARD | NetaCap Probe I/F Kit Cable and 3.5V Reg | 160
74330-005760 | 31RNSOLARPAN3W | RadioNet Solar Panel Kit, 9V 3W, includes solar panel, mounting bracket, charging regulator, requires rechargeable battery | 229
74330-003025 | 31RNRECHARBATT6V | RadioNet RTU Rechargeable Battery, 6VDC SLA, requires solar panel kit | 98.7
74330-002960 | 31RNSOLCHGREG | RadioNet solar panel charging regulator | 114
74330-010200 | 31RTULITHBATT | RadioNet RTU Lithium Metal Battery pack, 7.2VDC 8.5 AH, non-rechargeable | 162
74330-005020 | 31RNANTG10FT | Antenna with 10' cable | 146
74330-005060 | 31RNANG19FT | Antenna with 19' cable | 161
74330-005120 | 31RNANTG33FT | Antenna with 33' cable | 176
SingleNet Host
Item Number | Model Number | Description | Price Each
00035-001760 | 31SCSCWOPW | SingleNet Host, for use with GrowSphere MAX controller, requires 12VDC 2A power supply | 2001
77100-050320 | 31DCPOWER12V2A | SingleNet Host Power Supply, 115VAC to 12VDC 2A, Wall Plug, Screw Terminal, No Wire | 79
00035-008350 | 31SCRS | SingleNet Host card, for use with GrowSphere MAX controller, requires enclosure and 12VDC 2A power supply | 1385
00035-014780 | 31POLENETCABLE | PoleNet USB RJ45 Programming Cable | 142
00035-008300 | 31SCLPM | SingleNet Host Lightning Suppression Module | 776
SingleNet 2-Wire cable
Item Number | Model Number | Description | Price Each
00107-007980 | 31SC0016C-1000 | SingleNet RTU Cable, 1000' spool, ½" PE Conduit | 1633
00107-007990 | 31SC0016C-2500 | SingleNet RTU Cable, 2500' spool, ½" PE Conduit | 4082
00107-007960 | 31SC0016CLTC | SingleNet RTU Cable Liquid Tight Connector | 13
SingleNet RTU
Item Number | Model Number | Description | Price Each
74340-014900 | 31SCRTU2 | SingleNet RTU, 2 DC latching outputs, 2 digital inputs | 611
74340-015000 | 31SCRTU4 | SingleNet RTU, 4 DC latching outputs, 4 digital inputs | 1086
74340-015400 | 31SCRTU2PL | SingleNet RTU with Lightning Protection, 2 DC latching outputs, 2 digital inputs | 835
74340-015500 | 31SCRTU4PL | SingleNet RTU with Lightning Protection, 4 DC latching outputs, 2 digital inputs | 1372
SingleNet RTU Accessories
Item Number | Model Number | Description | Price Each
00035-008150 | 31SRTU2LAT2D | SingleNet RTU card, 2 DC latching outputs, 2 digital inputs, requires enclosure | 490
00035-008200 | 31SCRTULP | SingleNet RTU Lightning Protection card, no enclosure | 152
74340-016000 | 31SCEMPTYBOX | SingleNet RTU box, metal backplate, empty | 311
35500-003260 | 31SCRTUBRKT1 | SingleNet RTU bracket (not pictured) | 51.45
NetRTU Replacement Parts
Item Number | Model Number | Description | Price Each
74710-000003 | 31NBRTU2DO | NetBeat RTU 2DO: 915 MHz, 2 digital inputs, 3 analog inputs, 2 digital outputs, includes wall mount bracket | 552
74710-000012 | 31NBRTU8DO | NetBeat RTU 8DO: 915 MHz, 2 digital inputs, 3 analog inputs, 8 digital outputs, includes wall mount bracket | 882
74710-000009 | 31NBRTU16DO | NetBeat RTU 16DO: 915 MHz, 2 digital inputs, 3 analog inputs, 16 digital outputs, includes wall mount bracket | 1323
74740-000350 | 31NBRTUSOLAR | NetBeat RTU Solar Panel Kit: includes solar panel & mounting bracket | 245
74740-000150 | 31NBANTKIT5M | NetBeat LoRa Remote Antenna Kit 5 m: includes antenna, mounting bracket, 5 m (16 ft) coax cable | 249
74740-000135 | 31NBANTKIT10M | NetBeat LoRa Remote Antenna Kit 10 m: includes antenna, mounting bracket, 10 m (33 ft) cable | 384
74740-000028 | 31NBLORAHIGAINKIT | NETMCU/RTU 8DBI HIGH GAIN ANTENNA KIT | 1323
74740-000110 | 31NBMCULORAANT | LoRa Antenna 915MHz | 55.65
74740-000111 | 31NBLORACABLE10M | LoRa Antenna Cable 10 m (33 ft) (not pictured) | 299
74740-000114 | 31NBLORACABLE5M | LoRa Antenna Cable 5 m (16 ft) (not pictured) | 187
74740-000120 | 31NBANTHOLD | Remote Antenna Bracket (not pictured) | 4.94
EC/pH Monitoring
Item Number | Model Number | Description | Price Each
74360-007901 |  | EC/pH transmitter, panel mount/wall mount AWT420 | 2545
74360-007970 |  | EC replacement module for AWT420 | Call for Quote
74360-007971 |  | pH replacement module for AWT420 | Call for Quote
45000-006692 | 31PHSENS4GBNC | pH sensor, JUMO 12mm, glass, BNC connector | 363
45000-006705 | 31ECSENSABB4G | EC & temperature sensor, JUMO 12mm, bare wire | 670
FERTIONE PLUS
Item Number | Model Number | Description | Price Each
33250-000600 | 31FTO+50PSI | FertiOne Plus Low Pressure: suitable for mainlines with operating pressure between 29 and 58 psi; includes 2 fertilizer/diluted acid channels at 158 GPH, 440VAC three phase booster pump (MTX5-2 60Hz 0.95 kW 1.28 HP) electrical control box with manual starter, contactor, Manual-Off-Auto selector switch, SCH 80 NPT PVC fittings | 5521
33250-000601 | 31FTO+80PSI | FertiOne Plus High Pressure: suitable for mainlines with operating pressure between 58 and 87 psi; includes 2 fertilizer/diluted acid channels at 158 GPH, 440VAC three phase booster pump (MTX5-3 60Hz 1.35 kW 1.81 HP) electrical control box with manual starter, contactor, Manual-Off-Auto selector switch, SCH 80 NPT PVC fittings | 5604
33250-000603 | 31FTO+50PSI1PH | FertiOne Plus Low Pressure Single Phase: suitable for mainlines with operating pressure between 29 and 58 psi; includes 2 fertilizer/diluted acid channels at 158 GPH, 220VAC single phase booster pump (MTX5-2 60Hz 0.9 kW 1.2 HP), electrical control box with manual starter, contactor, Manual-Off-Auto selector switch, SCH 80 NPT PVC fittings | 5486
33250-000602 | 31FTO+80PSI1PH | FertiOne Plus High Pressure Single Phase: suitable for mainlines with operating pressure between 58 and 87 psi; includes 2 fertilizer/diluted acid channels at 158 GPH, 220VAC single phase booster pump (MTX5-3 60Hz 1.3 kW 1.8 HP), electrical control box with manual starter, contactor, Manual-Off-Auto selector switch, SCH 80 NPT PVC fittings | 5604
FERTIONE PLUS SPARE PARTS
Item Number | Model Number | Description | Price Each
45000-040720 | - | FTOUS Aluminum Frame | Call for Quote
77800-025525 | 31FTO+PUMPMXT5-2 | Pump MTX 5-2T6 3x220/440 60 Hz | 940
77800-025515 | 31FTO+PUMPMXT5-3 | Pump MTX 5-3T6 3x220/440 60 Hz | 1080
77800-025520 | 31FKPUMPE52T6 | Pump MTX 5-2T6/0.9m 1x220 6.3A 60 Hz | 1036
77800-023250 | 31FKPUMPE53T6 | Pump MTX 5-3T6/1.3M 1x220 7.7A 60Hz | 1243
77210-003350 | - | FTOUS Switchbox MTX 5-2T6 60 Hz | Call for Quote
77210-003360 | - | FTOUS Switchbox MTX 5-3T6 60 Hz | Call for Quote
77210-003370 | - | FTOUS Switchbox MTX 1x220V 6.3-10A 0.9-1.3KW | Call for Quote
77120-003350 | - | Overload 1.6-2.5 A for FertiOne, GV2ME01, MTX 5-2 3x440 2.2A | 141
77120-003360 | - | Overload 2.5-4 A for FertiOne, GV2ME08, MTX 5-2 3x440 2.9A | 141
77100-011935 | - | Overload 4-6.3 A for FertiOne, GV2ME10, MTX 5-2 3x220 4A, MTX 5-3 3x220 5.3A | 141
33241-000699 | - | FTOUS Inlet to Dosing Booster Set | 436
33241-000704 | - | FTOUS Dosing Booster Outlet | 179
33241-000698 | - | FTOUS Suction Manifold Set | 912
33241-000705 | 31FTO+DOSCHNVERT | FTOUS Assembled Dosing Channel 160 GPH SCH80 | 784
33241-000697 | - | FTOUS Inlet to Venturi Set | 527
77540-003400 | - | Pressure Gauge 250 GLZ 145 psi 1/4” BSP | 25.2
70561-003730 | 65ARIS075-PP | Air Valve 3/4” DG-010 NPT | 187
77540-008470 | 31FTO+DOSVLVS12 | Dosing Valve FIP S12 24VAC 50/60H Z 3/8” | 345
76420-007955 | 31FTO+CHKVLV | Line Check Valve 3/4” *3/4” EPDM | 71.4
76400-011376 | 31FTO+NEEDLEVLV | Needle Valve 1/2” High Flow | 45.15
77540-007590 | 31FTO+ROTOMETER | STUBBE Rotometer DFM 185 16-160 GPH ASTM | 163
FERTIKIT 5G with GrowSphere MAX
Item Number | Model Number | Description | List Price
74722-000082 | 31FK5GSP2F351AC13GSMAX | FertiKit 5G SP NPT Low Flow, includes 4 dosing channel slots, 2 Fertilizer Dosing Channels at 35 GPH, 1 Acid Dosing Channel at 13 GPH, and 1 expansion slot for dosing channel slot (13 GPH or 35 GPH only), 220VAC single phase booster pump (MTX5-3 60Hz), electrical control box with disconnect, pump breaker, and Hand-Off-Auto selector switch, SCH 80 NPT PVC fittings. EC/pH Monitoring Kit, includes AWT420 Monitor (24VAC, wall mount), 1 EC sensor, 1 pH sensor, calibration fluid packets (5 each of pH 7.0, pH 4.0, EC 1.41), PVC unions. GrowSphere MAX Irrigation Controller, 115VAC power supply, 100VA 24VAC transformer, includes PM5052 Main Module with 12 Digital Inputs (1 used by FertiKit) and 6x24VAC outputs (1 used by FertiKit), DO572 Dosing Module with 8x24VAC TRIAC outputs (4 used by the Fertkit), AI561 Analog Input Module with 4x4-20mA inputs (2 used by EC/pH Monitoring Kit), HMI Screen, Cellular Router with Global FloLive SIM card, 6 expansion slots, double door enclosure. | 25283
74722-000078 | 31FK5GSP2F901AC13GSMAX | FertiKit 5G SP NPT High Flow, includes 4 dosing channel slots, 2 Fertilizer Dosing Channels at 90 GPH, 1 Acid Dosing Channel at 13 GPH, and 1 expansion slot for dosing channel slot (13, 35, or 90 GPH dosing channel), 440VAC three phase booster pump (CM15-2), electrical control box with disconnect, pump breaker, and Hand-Off-Auto selector switch, SCH 80 NPT PVC fittings. EC/pH Monitoring Kit, includes AWT420 Monitor (24VAC, wall mount), 1 EC sensor, 1 pH sensor, calibration fluid packets (5 each of pH 7.0, pH 4.0, EC 1.41), PVC unions. GrowSphere MAX Irrigation Controller, 115VAC power supply, 100VA 24VAC transformer, includes PM5052 Main Module with 12 Digital Inputs (1 used by FertiKit) and 6x24VAC outputs (1 used by FertiKit), DO572 Dosing Module with 8x24VAC TRIAC outputs (4 used by the Fertkit), AI561 Analog Input Module with 4x4-20mA inputs (2 used by EC/pH Monitoring Kit), HMI Screen, Cellular Router with Global FloLive SIM card, 6 expansion slots, double door enclosure. | 26712
FERTIKIT 5G SP NPT EXPANSION OPTIONS
Item Number | Model Number | Description | Price Each
33241-009210 | 31FKNPT13GPHCHN | FertiKit 5G SP NPT Acid Dosing Channel 13 GPH, complete, Baccara Solenoid, SCH80 | 1277
33241-009200 | 31FKNPT35GPHCHN | FertiKit 5G SP NPT Fertilizer Dosing Channel 35 GPH, complete, FIP S12 Solenoid, SCH80 | 1279
33241-009220 | 31FKNPT90GPHCHN | FertiKit 5G SP NPT Fertilizer Dosing Channel 90 GPH, complete, FIP S12 Solenoid, SCH80 | 1437
FertiKit 5G SP NPT SPARE PARTS
Item Number | Model Number | Description | Price Each
33241-009040 | 31FKNPTINMTX53 | FertiKit 5G SP NPT Inlet to MTX5-3 60Hz pump, SCH80 | 406
33241-009030 | 31FKNPTINCM152 | FertiKit 5G SP NPT Inlet to CM15-2 60Hz pump, SCH80 | 422
33241-009060 | 31FKNPTOUTMTX53 | FertiKit 5G SP NPT Outlet from MTX5-3 60Hz pump, SCH80 | -
33241-009050 | 31FKNPTOUTCM152 | FertiKit 5G SP NPT Outlet from CM15-2 60Hz pump, SCH80 | 406
33241-009080 | 31FKNPTUPPERMAN | FertiKit 5G SP NPT Upper manifold, SCH80 | 744
33241-000002 | 31FKNPTVENTOUT | FertiKit 5G SP NPT Venturi outlet, 1" MIPT SCH80 | 168
33241-009110 | 31FK3SNPTVENT13GPH | FertiKit 5G SP NPT Venturi, PVDF (Viton), 13 GPH, SCH80 | 271
33241-009100 | 31FK3SNPTVENT40GPH | FertiKit 5G SP NPT Venturi, polypropylene, 40 GPH, SCH80 | 189
33241-009090 | 31FK3SNPTVENT90GPH | FertiKit 5G SP NPT Venturi, polypropylene, 90 GPH, SCH80 | 268
33241-009210 | 31FKNPT13GPHCHN | FertiKit 5G SP NPT Acid dosing channel 13 GPH, complete, Baccara solenoid, SCH80 | 1277
33241-009200 | 31FKNPT35GPHCHN | FertiKit 5G SP NPT Fertilizer dosing channel 35 GPH, complete, FIP S12 solenoid, SCH80 | 1279
| 31FK3SNPTVERT40GPH | FertiKit 5G SP NPT Fertilizer dosing channel, Vertical Part, 4-40 GPH, SCH80 | Call for Quote
| 31FK3SNPTHRZNFS12 | FertiKit 5G SP NPT Fertilizer dosing channel, Horizontal Part FIP S12 solenoid, SCH80 | Call for Quote
33241-009220 | 31FKNPT90GPHCHN | FertiKit 5G SP NPT Fertilizer dosing channel, complete, FIP S12 solenoid, SCH80 | 1437
| 31FK3SNPTVERT90GPH | FertiKit 5G SP NPT Fertilizer dosing channel, Vertical Part, 10-90 GPH, SCH80 | 0
| 31FK3SNPTHRZNFS12 | FertiKit 5G SP NPT Fertilizer dosing channel, Horizontal Part FIP S12 solenoid, SCH80 | 0
76400-011375 | 31FKNDLEVLVORNG | FertiKit 5G SP NPT Sampling valve | 45.15
70561-003730 | 65ARIS075-PP | Continuous air vent, ¾" MIPT (DG-010) | 187
77800-023250 | 31FKPUMPE53T6 | MTX5-3 60Hz 220VAC 7.7A Single phase pump, 1.3kW | 1243
77800-002996 | 31FKPUMPCM15-2 | CM15-2 60Hz 220VAC 14.8A / 440VAC 7.2A Three phase pump, 4kW | 2914
45000-008759 | 31FK3ALMFRMPUMP | Aluminum frame set for pump | Call for quote
- | - | Aluminum frame (not available as a spare part) | -
33220-001300 | 31FKNPTSWBDMTRX | Pump switchboard for MTX5-3 | 1981
77100-013640 | 31FKLUCBC12B | Pump switchboard contactor for MTX5-3 | 431
33220-001450 | 31FKNPTSWBDCM15 | Pump switchboard for CM15-2 | 1847
77100-013620 | 31FKLUCBC18B | Pump switchboard contactor for CM15-2 | 390
74360-007901 |  | EC/pH transmitter, panel mount/wall mount AWT420 | 2545
33240-000026 |  | Aluminum frame for Grow Sphere Max controller with-Front plate | Call for Quote
33240-000028 |  | EC/pH transmitter mounting KIT | Call for Quote
77400-027100 | 31PLUG.75 | Plug, ¾" MIPT SCH80 | 4.62
77540-003400 | 31FKPRESGAUGE145P | Pressure gauge, 145 psi (10 bar), ¼" BSP male | 25.2
45000-006692 | 31PHSENS4GBNC | pH sensor, JUMO 12mm, glass, BNC connector | 363
45000-006705 | 31ECSENSABB4G | EC & temperature sensor, JUMO 12mm, bare wire | 670
33120-008500 | 31SNSUNION | EC/pH sensor union set, ¾" MIPT | 99.75
77800-002180 | 31FKPRESSWITCH | Pressure switch, 14 to 45 psi (1 to 3 bar), ¼" BSP male | 242
77800-000019 | 31FKEMTXSEALKIT | Ebara Matrix 5 Seal Kit | 116
77800-025566 | 31FKEMTXSCREWKIT | Ebara Matrix 5 Drain Tank Screw Kit | 35.7
FERTIKIT 3G SP METRIC SPARE PARTS
Item Number | Model Number | Description | Price Each
33240-025000 | - | FertiKit 3G SP Inlet | Call for Quote
33240-005670 | 31FKPUMPEOUTKIT | Pump inlet & outlet for MTX5-3 | 154
33240-002666 | 31FK3BPADP2 | Pump inlet for CM15-2 | 76.65
33240-005670 | 31FKPUMPEOUTKIT | Pump inlet & outlet for MTX5-3 | 154
33240-000018 | 31FK3BPACM15-2OUT | Pump outlet for CM15-2 | 59.85
77300-025045 | 31FK3CHCKVLV50 | FertiKit 3G check valve, 50mm | 104
33240-002100 | 31FKIT3GMANIF | FertiKit 3G SP Upper manifold | 399
33240-002251 | 31FK3PVCRED50-05 | Reducer, DN50 x 1/2" | 52.5
33220-002110 | 31FK3GSPLOWERMANIF | FertiKit 3G SP Lower manifold (with separation discs) | 480
33240-002252 | 31FK3PVCRED50-75 | Reducer, DN50 x 3/4" | Call for Quote
33240-004100 | 31FK3ELBOW | Elbow for gauge | Call for Quote
33240-003200 | 31FK3SVENT13GPH | Venturi for Concentrated Acid, 13 GPH | 294
33240-002300 | 31FK3SVENT35GPH | Venturi for Fertilizer, 35 GPH | 138
33240-002320 | 31FK3SVENT65GPH | Venturi for Fertilizer, 95 GPH | 338
33230-002000 | 31FK3GDCH13GPHAB | FertiKit 3G Acid Channel 13 GPH Complete (Baccara Solenoid) | 1050
33230-001550 | 31FK3GDCH40GPHF | FertiKit 3G Dosing Channel 35 GPH Complete (FIP S12 Solenoid) | 1097
33230-001670 | 31FK3GDCH95GPHF | FertiKit 3G Dosing Channel 95 GPH Complete (FIP S12 Solenoid) | 1229
33240-006010 | 31FK3GDCH95GPHVNCV | NFXSP-Dosing Channel- 400L No Check Valve | 800
33230-004150 | 31BURKETKITMTRC | FertiKit 3G SP Acid dosing channel, horizontal part, Burkert solenoid, metric | 1936
76400-011375 | 31FKNDLEVLVORNG | FertiKit 3G SP NPT Sampling valve | 45.15
70561-003730 | 65ARIS075-PP | Continuous air vent, 3/4" MIPT (DG-010) | 187
77800-023250 | 31FKPUMPE53T6 | MTX5-3 60Hz 220VAC 7.7A Single phase pump, 1.3kW | 1243
77800-002996 | 31FKPUMPCM15-2 | CM15-2 60Hz 220VAC 14.8A / 440VAC 7.2A Three phase pump, 4kW | 2914
45000-008759 | 31FK3ALMFRMPUMP | Aluminum frame set for pump | Call for quote
- | - | Aluminum frame (not available as a spare part) | -
33220-001300 | 31FKNPTSWBDMTRX | Pump switchboard for MTX5-3 | 1981
77100-013640 | 31FKLUCBC12B | Pump switchboard contactor for MTX5-3 | 431
33220-001450 | 31FKNPTSWBDCM15 | Pump switchboard for CM15-2 | 1847
77100-013620 | 31FKLUCBC18B | Pump switchboard contactor for CM15-2 | 390
74340-003580 | 31ECPH4G24ACWL | EC/pH 4G Monitor, 24vAC, Wall Mount, requires EC and pH sensor | 1023
45000-008757 | 31FK3ALMFRMNMCPRO | Aluminum frame set for NMC Pro controller | 408
45000-008758 | 31FK3ALMFRMNMCJR | Aluminum frame set for NMC Jr Pro controller | -
77300-016010 | 31PLUGDN16 | Plug, DN16 (1/2") BSP | 2.21
00110-001810 | 6809020-160 | Pressure gauge, 1/4" MIPT, 0-160 psi | 101
45000-006701 | 31PHSENSABB | pH sensor, JUMO 12mm, glass, bare wire | 479
45000-006705 | 31ECSENSABB4G | EC & temperature sensor, JUMO 12mm, bare wire | 670
33120-008500 | 31SNSUNION | EC/pH sensor union set, 3/4" BSP | 99.75
77800-002180 | 31FKPRESSWITCH | Pressure switch, 14 to 45 psi (1 to 3 bar), 1/4" BSP male | 242
77400-027100 | 31PLUGDN8 | Plug, DN8 (1/4") BSP | 4.62
NETAFLEX 3G
Item Number | Model Number | Description | Price Each
33400-000012 | 31NF6F150CM15-2 | NetaFlex 3G: High Flow (up to 80 GPM): includes 6 fertilizer dosing channels at 150 l/h (35 GPH), can be used for diluted acid (see manual for limitations), 220VAC three phase booster pump (CM15-2), electrical control box with disconnect, pump breaker,and Hand-Off-Auto selector switch, metal enclosure EC/pH Monitoring Kit: includes 4G Monitor (24VAC, panel mount), 1 EC sensor, 1 pH sensor, calibration fluid packets (5 each of pH 7.0, pH 4.0, EC 1.41), PVC unions NMC Pro Irrigation Controller: 115VAC power supply, 250VA 24VAC transformer, includes 16 24VAC outputs (7 used by NetaFlex, 9 free), 8 digital inputs (1 used by NetaFlex, 7 free), 11 analog inputs (2 used by EC/pH Monitoring Kit, 9 free), data plug backup key, 6 expansion slots | 32458
33400-000013 | 31NF6F50CM10-2 | NetaFlex 3G: Low Flow (up to 50 GPM): includes 6 fertilizer dosing channels at 50 l/h (13 GPH), can be used for diluted acid (see manual for limitations), 220VAC three phase booster pump (CM10-2), electrical control box with disconnect, pump breaker, and Hand-Off-Auto selector switch, metal enclosure EC/pH Monitoring Kit: includes 4G Monitor (24VAC, panel mount), 1 EC sensor, 1 pH sensor, calibration fluid packets (5 each of pH 7.0, pH 4.0, EC 1.41), PVC unions NMC Pro Irrigation Controller: 115VAC power supply, 250VA 24VAC transformer, includes 16 24VAC outputs (7 used by NetaFlex, 9 free), 8 digital inputs (1 used by NetaFlex, 7 free), 11 analog inputs (2 used by EC/pH Monitoring Kit, 9 free), data plug backup key, 6 expansion slots | 31590
NETAFLEX 3G SPARE PARTS
Item Number | Model Number | Description | Price Each
77100-013620 | 31FKLUCBC18B | Contactor for CM10-2 & 15-2 pump | 390
77600-001986 | 31NFTANK200L | WATER TANK 200L-BLUE55CM DIAM.114CM-HIGH | Call for Quote
33240-006878 | 31NFINLET | NetaFlex Inlet Kit | 607
33240-006660 | 31NFINLET2VLV | System Inlet (part of kit) | 129
71600-035968 | 3161FL323PLNOFLOAT | Float valve (part of kit) | 411
33240-006310 | 31NFINLETVLV2TANK | Float valve to tank adaptor (part of kit) | 201
33240-006400 | 31NFMANTANKINLET | Lower manifold to tank adaptor | Call for Quote
33240-006881 | 31NFPUMPINCM10-2 | Tank to Pump Inlet Kit for Grundfos CM10-2 | Call for Quote
33240-006879 | 31NFPUMPINCM15-2 | Tank to Pump Inlet Kit for Grundfos CM15-2 | Call for Quote
33240-006880 | 31NFPUMPOUTCM10-2 | Pump Outlet for Grundfos CM10-2 | Call for Quote
33240-006877 | 31NFPUMPOUTCM15-2 | Pump Outlet for Grundfos CM15-2 | Call for Quote
77400-032600 | 31NFOUTLETCHKVLV | Check valve (part of kit) | 172
33240-006875 | 31NFCKVLVDCM10-2 | Check valve for Grundfos CM10-2 | 160
33240-006872 | 31NFCKVLVDCM15-2 | Check valve for Grundfos CM15-2 | 160
77540-007100 | 31NFSCREENFILTER | Screen Filter 100 Mesh | 184
77540-007110 | 31NFSCRELEMENTPVCU | Screen Filter Element 100 Mesh | 27.3
77540-007120 | 31NFSCRELEMENTSS | Screen Filter Element 240 Mesh | 27.3
33240-002100 | 31FKIT3GMANIF | Upper / lower manifold | 399
33240-003200 | 31FK3SVENT13GPH | Venturi PVDF-M50 (13 GPH) | 294
33240-003250 | 31FK3SVENT13GPHD | Venturi PVDF-M50 (13 GPH) Dual | 305
33240-002370 | 31FK3SVENT150GPH | Venturi PVC-N600 (158 GPH) | 166
33240-002375 | 31FK3SVENT150GPHD | Venturi PVC-N600 (158 GPH) Dual | 179
33230-007500 | 31NF3GDCH13GPHV | NETAFLEX-DOSING CHANNEL-13GPH | 636
33230-501000 | 31NF3GDCH35GPHV | NETAFLEX-DOSING CHANNEL-35GPH | 603
33230-001680 | 31FK3GDCH95GPHV | FSA-CH-400L/H-S12-VITON-PP370 | 1013
33240-002251 | 31FK3PVCRED50-05 | Reducer 50mm - 1/2" | 52.5
77300-016010 | - | PVC threaded plug 1/2" - male | Call for Quote
77300-016000 | - | Plug 1/4" | Call for Quote
76400-003503 | 55P4694804-B | Plastic Male 90º Elbow 8 mm x 1/4” (10/bag) | 62.37
00110-001810 | 6809020-160 | Pressure Gauge 0-160 psi, ¼” | 101
77400-027100 | 31PLUGDN8 | PVC threaded plug 3/4" - male | Call for Quote
33240-003050 | 31ECPHMANIFOLD | EC/pH manifold (single EC & pH) | 197
33120-008500 | 31SNSUNION | Union adapter set for EC/pH sensor | 99.75
45000-006705 | 31ECSENSABB4G | EC+TEMP SENSOR JUMO 12MM | 670
45000-006692 | 31PHSENS4GBNC | PH SENSOR JUMO 12MM GLASS W/BNC CONNECT | 363
75080-002900 | 31WLFLOAT.5 | Water level float 1/2" | 44.1
77600-014000 | 31NFTANKSEALFERT | Penetration seal for lower manifold to tank adaptor | 29.4
77600-006550 | 31NFTANKSEALINOUT | Penetration seal for Tank Inlet/Outlet | 29.4
77600-006510 | 31NFOVERFLOWSEAL | Penetration seal for Overflow assembly | 29.4
77100-007930 | 31NFLOWSWITCH | Low level switch | 90.3
33240-006220 | 31NFFLOWSWITCHCASE | Low level switch casing | 172
33240-006450 | 31NFOVERFLOW | Overflow assembly | Call for Quote
77800-027315 | 31FKPUMPCR45-1 | Grundfos CR45-1 Pump, Three Phase 60Hz | 9917
77800-003019 | 31FKPUMPCM10-2 | Grundfos CM10-2 Pump, Three Phase 60Hz | 2020
77800-002996 | 31FKPUMPCM15-2 | Grundfos CM15-2 Pump, Three Phase 60Hz | 2914
NMC PRO IRRIGATION CONTROLLER
Item Number | Model Number | Description | Price Each
74340-003095 | 31NMCPRO | NMC Pro Irrigation Controller, 115VAC power supply, 80VA 24VAC transformer, includes 16 24VAC outputs, 8 digital inputs, data plug backup key, 7 expansion slots, double door enclosure, and external 115VAC surge suppressor | 8052
NMC PRO CONTROLLER COMMUNICATION OPTIONS
Item Number | Model Number | Description | Price Each
74340-000020 | 31NMCAIR+KIT-VZ | NMC Air+ Kit for the NMC Pro or Junior controller, includes NMC Air+ Comm-box, Verizon cellular modem, 115VAC power supply, enclosure, and 1-year license. RS485 communication card is required but it is not included. If the NMC Pro does not already have the RS485 communication card, please select either 74340-009200 or 74340-012800. | 5076
74340-000021 | 31NMCAIR+COMBOX-VZ | NMC Air+ Comm-box with Verizon cellular modem (replacement part) | 4856
74340-000018 | 31NMCAIR+ANNUALFEE | NMC Air + Annual Subscription for NMC PRO and NMC JR PRO | 1260
NMC PRO & CLIMATE CONTROLLER SENSOR OPTIONS
Item Number | Model Number | Description | Price Each
74340-004955 | 31NMCWEATHER | Weather Station for NMC Pro controller, includes solar radiation, wind speed, wind direction, temperature, humidity, and tipping rain bucket | 4911
74340-000002 | 31GHTRH | Greenhouse temperature and relative humidity kit, includes temperature sensor, relative humidity sensor, powered ventilation box | 1648
74340-004270 | 31GHT | Greenhouse temperature kit, includes temperature sensor and powered ventilation box | 936
74340-008200 | 31TEMP/RH | Temperature and relative humidity sensors with basic shield | 1612
74340-004300 | 31TEMP | Temperature sensor with basic shield | 301
00107-014020 | 31PT200-4-20MA | Pressure transducer, 200 psi, 4-20mA, 1/4 MIPT, M12 Male connector | 836
00107-014021 | 31PTCABLE2M | Pressure transducer, 2 m (6 ft), M12 Female connector | 34.65
33000-003315 | 31ECPHKIT4G | EC & pH Kit, includes 24VAC wall mount transmitter, 1 EC sensor, 1 pH sensor, calibration fluid packets (5 each of pH 7.0, pH 4.0, EC 1.41), PVC unions | 2138
NMC PRO EXPANSION OPTIONS
Item Number | Model Number | Description | Price Each
74340-014100 | 31NMCPROXPANBX | NMC Pro Expansion Box (up to 3 per NMC Pro controller), 115VAC power supply, 350VA 24VAC transformer, includes expansion CPU with RS232/RS485 communication, 10 expansion slots, and enclosure. Requires input/output boards | 3650
74340-008500 | 31NMC64OB | Output board, 8 outputs, 24VAC (limit 5 per NMC Pro / NMC Pro expansion box) | 613
74340-008600 | 31NMC64OBDC | Output board, 8 outputs, dry contact (limit 8 per NMC Pro / NMC Pro expansion box) | 613
74340-008800 | 31NMC64IBDP | Input board, 8 digital/pulse inputs (limit 4 per NMC Pro / NMC Pro expansion box) | 566
74340-008900 | 31NMC64IBA | Input board, 11 analog inputs (limit 2 per NMC Pro / NMC Pro expansion box) | 658
74340-009530 | 31NMCPROLICENSEKEY | NMC Pro/DC RTU license key, 128 outputs | 1161
74340-009560 | 31NMCPROLICENSE256 | NMC Pro/DC RTU license key, 256 outputs | 2108
NMC PRO SPARE PARTS
Item Number | Model Number | Description | Price Each
74340-004920 | 31NMCPRODISP | NMC Pro/DC Display with LED Backlight | 1251
74340-003300 | 31NMCPROKEY | NMC Pro/DC Keyboard for LED Backlight | 440
74340-020800 | 31NMCPRORIBBONS | NMC Pro/DC Display and Keyboard Ribbon Cable Set | Call for Quote
74340-014600 | 31NMCPROCPUCARD | NMC Pro CPU Card, includes SD Card | 2219
74340-012700 | 31NMCPROCPUEXP | NMC Pro Expansion CPU Card | 852
74340-014650 | 31NMCSDCARD | NMC Pro/DC/Jr Pro SD Card | 54.6
74340-007800 | 31NMC64IOBUSS | NMC Pro I/O Bus Card | 287
74340-007900 | 31NMC64PS | NMC Pro Power Supply Card, 115VAC | 949
74340-009300 | 31NMCPROPWR12V | NMC Pro Power Supply Card, 12VDC | 481
74340-008050 | 31NMCPROTRANS24 | NMC Pro 115/24VAC transformer (requires 74340-007900) | 255
74340-008500 | 31NMC64OB | NMC Pro Output card, 8 outputs, 24VAC (limit 5 per NMC Pro / NMC Pro expansion box) | 613
74340-008600 | 31NMC64OBDC | NMC Pro Output card, 8 outputs, dry contact (limit 8 per NMC Pro / NMC Pro expansion box) | 613
74340-008800 | 31NMC64IBDP | NMC Pro Input card, 8 digital/pulse inputs (limit 4 per NMC Pro / NMC Pro expansion box) | 566
74340-008900 | 31NMC64IBA | NMC Pro Input card, 11 analog inputs (limit 2 per NMC Pro / NMC Pro expansion box) | 658
74340-014500 | 31NMCPRODP | NMC Pro/DC/Jr Pro Data Plug (Gold) | 262
74340-009100 | 31NMCCR | NMC Pro/DC Communication Card RS232 / RS232 | 1601
74340-009200 | 31NMC64CC | NMC Pro/DC Communication Card RS485 / RS232 | 566
74340-012800 | 31NMCPRO2RS485 | NMC Pro/DC Communication Card RS485 / RS485 | 582
74340-016670 | 31NCMPROBOXDBL | NMC Pro Double Door Enclosure, includes box, metal door, metal back plate, and stickers | 1079
74340-001930 | 31NMCLATCHDOOR | NMC Pro Double Door Latch | 28.35
74340-003760 | 31NMCPLPBOX | NMC Pro/Jr Pro Power Supply Surge Suppressor | 270
74340-014700 | 31NMC64UPKIT | NMC 64 Upgrade Kit, includes NMC Pro CPU, SD Card, Digital Input Card V3 Chip, NMC Pro/DC/Jr Pro Data Plug (Gold) | 2718
NMC JUNIOR PRO
Item Number | Model Number | Description | Price Each
74340-023960 | 31NMCJRPROLC | NMC Junior Pro Irrigation Controller, 115VAC power supply, 50VA 24VAC transformer, includes 15 24VAC outputs, 6 digital inputs, 5 analog inputs (1 EC, 1 pH, 2 Temperature, 1 Humidity sensor), data plug backup key, double door enclosure, and external 115VAC surge suppressor | 3455
NMC JUNIOR PRO COMMUNICATION OPTIONS
Item Number | Model Number | Description | Price Each
74340-000020 | 31NMCAIR+KIT-VZ | NMC Air+ Kit for the NMC Pro or Junior controller, includes NMC Air+ Comm-box, Verizon cellular modem, 115VAC power supply, enclosure, and 1-year license. RS485 communication card is required but it is not included. If the NMC Junior Pro does not already have the RS485 communication card, please select 74340-006700. | 5076
74340-000021 | 31NMCAIR+COMBOX-VZ | NMC Air+ Comm-box with Verizon cellular modem (replacement part) | 4856
74340-000018 | 31NMCAIR+ANNUALFEE | NMC Air + Annual Subscription for NMC PRO and NMC JR PRO | 1260
NMC JUNIOR PRO SENSOR OPTIONS
Item Number | Model Number | Description | Price Each
74340-000002 | 31GHTRH | Greenhouse temperature and relative humidity kit, includes temperature sensor, relative humidity sensor, powered ventilation box | 1648
74340-004270 | 31GHT | Greenhouse temperature kit, includes temperature sensor and powered ventilation box | 936
74340-008200 | 31TEMP/RH | Temperature and relative humidity sensors with basic shield | 1612
74340-004300 | 31TEMP | Temperature sensor with basic shield | 301
33000-003315 | 31ECPHKIT4G | EC & pH Kit, includes 24VAC wall mount transmitter, 1 EC sensor, 1 pH sensor, calibration fluid packets (5 each of pH 7.0, pH 4.0, EC 1.41), PVC unions | 2138
NMC JUNIOR PRO SPARE PARTS
Item Number | Model Number | Description | Price Each
74340-004920 | 31NMCPRODISP | NMC Pro/DC/Jr Pro Display with LED Backlight | 1251
74340-009980 | 31NMCJRPROLEDCPU | NMC Jr Pro CPU & Keyboard for LED Backlight | 1106
74340-014650 | 31NMCSDCARD | NMC Pro/DC/Jr Pro SD Card | 54.6
74340-014500 | 31NMCPRODP | NMC Pro/DC/Jr Pro Data Plug (Gold) | 262
74340-004973 | 31NMCJRDISPCABLE | NMC Jr Pro Ribbon Cable for Display | 29.4
74340-004972 | 31NMCJRINOUTCABLE | NMC Jr Pro Ribbon Cable for I/O Card | 29.4
74340-004995 | 31NMCJRPSCARD115V | NMC Jr Pro Power Supply Card, 115VAC | 635
74340-004997 | 31NMCJRPSDC | NMC Jr Pro Power Supply Card, 12VDC | 481
74340-006500 | 31NMC15I/OCABLE | NMC Jr Pro Power Supply I/O Card Bridge | 48.3
74340-005103 | 31NMCJRINOUTCHIP | NMC Jr Pro I/O Control Chip | 29.4
74340-009490 | 31NMCJRINOUTCARD | NMC Jr Pro I/O Card, 15 outputs, 6 digital inputs, 5 analog inputs (1 EC, 1 pH, 2 Temperature, 1 Humidity) | 827
74340-006600 | 31NMC15RS232 | NMC Jr Pro Communication Card, RS232 | 646
74340-006700 | 31NMCJRRS485 | NMC Jr Pro Communication Card, RS485 | 646
74340-014750 | 31NMCJRDDBOX | NMC Jr Pro Double Door Enclosure, includes box, metal door, metal backplate (requires 74340-016560) | 296
74340-016560 | 31NMCJRSTICKER | NMC Jr Pro Sticker | 54.6
74340-006650 | 31NMCJRDCLATCH | NMC DC/Jr Pro Door Latch | 24.15
74340-003760 | 31NMCPLPBOX | NMC Power Supply Surge Suppressor | 270
NMC DC
Item Number | Model Number | Description | Price Each
74340-013950 | 31NMCDC | NMC DC Irrigation Controller, 12VDC charging regulator, includes 8 12VDC latching outputs, 4 digital inputs, 4 analog inputs, data plug backup key, double door enclosure, requires solar panel or 12VDC power supply | 4943
NMC DC SENSOR OPTIONS
Item Number | Model Number | Description | Price Each
74340-000002 | 31GHTRH | Greenhouse temperature and relative humidity kit, includes temperature sensor, relative humidity sensor, powered ventilation box | 1648
74340-004270 | 31GHT | Greenhouse temperature kit, includes temperature sensor and powered ventilation box | 936
74340-008200 | 31TEMP/RH | Temperature and relative humidity sensors with basic shield | 1612
74340-004300 | 31TEMP | Temperature sensor with basic shield | 301
00107-014020 | 31PT200-4-20MA | Pressure transducer, 200 psi, 4-20mA, 1/4 MIPT, M12 Male connector | 836
00107-014021 | 31PTCABLE2M | Pressure transducer, 2 m (6 ft), M12 Female connector | 34.65
33000-003315 | 31ECPHKIT4G | EC & pH Kit, includes 24VAC wall mount transmitter, 1 EC sensor, 1 pH sensor, calibration fluid packets (5 each of pH 7.0, pH 4.0, EC 1.41), PVC unions | 2138
NMC DC EXPANSION UNITS
Item Number | Model Number | Description | Price Each
74340-009530 | 31NMCPROLICENSEKEY | NMC Pro/DC RTU license key, 128 outputs | 1161
74340-009560 | 31NMCPROLICENSE256 | NMC Pro/DC RTU license key, 256 outputs | 2108
NMC DC SPARE PARTS
Item Number | Model Number | Description | Price Each
74340-004920 | 31NMCPRODISP | NMC Pro/DC/Jr Pro Display with LED Backlight | 1251
74340-003300 | 31NMCPROKEY | NMC Pro/DC Keyboard for LED Backlight | 440
74340-008300 | 31NMCPROFLATCABL | NMC Pro/DC Display and Keyboard Ribbon Cable Set | 135
74340-022000 | 31NMCDCCPU | NMC DC CPU Card, without SD Memory Card | 1976
74340-009530 | 31NMCPROLICENSEKEY | NMC Pro/DC RTU license key, 128 outputs | 1105
74340-009560 | 31NMCPROLICENSE256 | NMC Pro/DC RTU license key, 256 outputs | 2007
74340-014650 | 31NMCSDCARD | NMC Pro/DC/Jr Pro SD Card | 54.6
74340-022300 | 31NMCDCBUS | NMC DC I/O Bus Card | 101
74340-022100 | 31NMCDCINP | NMC DC Input Card, 4 digital, 4 analog (Temp, 0-5v, 4-20mA user selectable) | 541
74340-022400 | 31NMCDCPOWER | NMC DC Power supply and charging regulator card | 306
00005-009500 |  | 9VDC Backup Battery | Call for Quote
74340-022200 | 31NMCLATCHOUT | NMC DC Latching Output Card, 8 outputs (limit 3 per NMC DC controller) | 564
74340-009100 | 31NMCCR | NMC Pro/DC Communication Card RS232 / RS232 | 1601
74340-009200 | 31NMC64CC | NMC Pro/DC Communication Card RS485 / RS232 | 566
74340-012800 | 31NMCPRO2RS485 | NMC Pro/DC Communication Card RS485 / RS485 | 582
74340-014500 | 31NMCPRODP | NMC Pro/DC/Jr Pro Data Plug (Gold) | 262
74340-014760 | 31NMCDCBOX | NMC DC Double Door Enclosure, includes box, metal door, metal back plate, and stickers | 667
74340-006650 | 31NMCJRDCLATCH | NMC DC/Jr Door Latch | 24.15
74340-023500 | 31SOLARPANEL | NMC DC Solar Panel Kit, includes 20VA solar panel, 12VDC 9AH SLA battery, mounting bracket | 1652
74340-022850 | 31BRKTNMCDC | NMC DC Pole mount bracket with battery holder | 382
EC/PH 4G
Item Number | Model Number | Description | Price Each
33000-003315 | 31ECPHKIT4G | EC & pH Kit, includes 4G Monitor (24VAC, wall mount), 1 EC sensor, 1 pH sensor, calibration fluid packets (5 each of pH 7.0, pH 4.0, EC 1.41), PVC unions | 2138
74340-003580 | 31ECPH4G24ACWL | EC & pH 4G Monitor for single EC & pH sensor, 24VAC, wall mount, requires EC & pH sensors | 1023
74340-003581 | 31ECPH4GDL24ACPL | EC & pH 4G Monitor for single EC & pH sensor, 24VAC, panel mount, requires EC & pH sensors | 1181
74340-003582 | - | EC & pH 4G Monitor for dual EC & pH sensors, 24VAC, panel mount, requires 2 EC & 2 pH sensors | 1976
45000-006705 | 31ECSENSABB4G | EC & temperature sensor, JUMO 12mm, bare wire | 670
45000-006692 | 31PHSENS4GBNC | pH sensor, JUMO 12mm, glass, BNC connector | 363
33120-008500 | 31SNSUNION | EC/pH sensor union set, ¾" MIPT | 99.75
45000-006480 | 31ECCALIB | EC Calibration fluid, 20mL | 4.83
45000-006440 | 31PHBUFFER4.0 | pH Calibration fluid, 20mL, pH 4.0 | 4.83
45000-006460 | 31PHBUFFER7.0 | pH Calibration fluid, 20mL, pH 7.0 | 4.83
INPUTS/SENSORS
Item Number | Model Number | Description | Price Each
74340-004955 | 31NMCWEATHER | Weather Station for NMC Pro controller, includes solar radiation, wind speed, wind direction, temperature, humidity, and tipping rain bucket | 4911
74340-000002 | 31GHTRH | Greenhouse temperature and relative humidity kit, includes temperature sensor, relative humidity sensor, powered ventilation box | 1648
74340-004270 | 31GHT | Greenhouse temperature kit, includes temperature sensor and powered ventilation box | 936
74340-008200 | 31TEMP/RH | Temperature and relative humidity sensors with basic shield | 1612
74340-004300 | 31TEMP | Temperature sensor with basic shield | 301
74340-010400 | 31RS | Radiation shield for temperature and relative humidity sensor | 646
74340-010300 | 31CTS | Temperature sensor | 188
74340-010100 | 31CB | Climatic box, for housing temperature and relative humidity sensors | 949
74340-010200 | 31CCBF | Climatic box fan, for adding powered ventilation to climatic box | 201
00107-014020 | 31PT200-4-20MA | Pressure transducer, 200 psi, 4-20mA, 1/4 MIPT, M12 Male connector | 836
00107-014021 | 31PTCABLE2M | Pressure transducer, 2 m (6 ft), M12 Female connector | 34.65
70261-011000 | 36FM.75RG.1 | Fertilizer flow meter, ¾" BSP w/ NPT adapters, 0.1 USG/pulse | 556
OUTPUTS/CONTROLS
Item Number | Model Number | Description | Price Each
35500-001300 | 3135500-001300 | Aquative solenoid, 24VAC, with bracket | 110
35500-002000 | 3135500-002000 | Aquative solenoid, 12VDC latching, with bracket | 104
35500-002100 | 61AQTVDCL2 | Aquative solenoid (2), 12VDC latching, with bracket | 256
35500-002200 | 61AQTVDCL3 | Aquative solenoid (3), 12VDC latching, with bracket | 300
35500-002300 | 61AQTVDCL4 | Aquative solenoid (4), 12VDC latching, with bracket | 363
00107-005450 | 28RELAY12VDCL | Output relay DPDT, 12VDC latching, with base | 224
77100-012020 | 31NETACIDCON | Direct pump control box, single phase up to 20 Amp, includes Hand-Off-Auto selector switch, solid state relay | 783
NUF
Item Number | Model Number | Description | Price Each
70180-000100 | 31NUF8GPMUS | NUF 8 GPM US | 46333
70180-000101 | 31NUF20GPMUS | NUF 20 GPM US | 79491
72300-001410 | 31VDE63MM2INKIT | TRANS. KIT FOR MIX. VLV. 63 TO 2" GLUE | 115
72300-001250 | 31VDEVK21-63 | MIXING VALVE VDE VK21-63 24V90SEC 90DEG | 4967
NUF 8 GPM Replacement Parts
Item Number | Model Number | Description | Price Each
70180-000215 | 31NUFMEMBRANE | NUF SINGLE REPLACEMENT MEMBRANE | 53.55
70180-000120 | 31NUF0.75INCHVALVE | NUF Diaphragm valve 3/4" w/o solenoid | Call for Quote
70180-000125 | 31NUF1INCHVALVE | NUF DIAPHRAGM VALVE 1" W/O SOLENOID | 192
70180-000130 | 31NUFAIRVALVE | NUF AIR VALVE | 278
70180-000140 | 31NUF40MEMBRANES | NUF MODULE - 40 MEMBRANES | 2133
70180-000235 |  | NUF REPLACEMENT DISCS 100 MICRON | 101
70180-000145 | 31NUF25MMPVC | NUF PVC PIPE 25 - BY METER | 23.1
70180-000150 | 31NUF32MMPVC | NUF PVC PIPE 32 - BY METER | 34.65
70180-000155 | 31NUF40MMPVC | NUF PVC PIPE 40 - BY METER | 43.05
70180-000160 | 31NUF25MMSVCKIT | NUF PVC SERVICE KIT 25 | 77.7
70180-000165 | 31NUF32MMSVCKIT | NUF PVC SERVICE KIT 32 | 96.6
70180-000170 | 31NUF40MMSVCKIT | NUF PVC SERVICE KIT 40 | 116
70180-000175 | 31NUFSOLENOIDSET | NUF SOLENOID SET | 1640
70180-000180 | 31NUFCVSLNDACCESS | NUF SOLENOID ACCESSORIES CONTROL VALVE | 336
70180-000185 | 31NUFPGSLNDACCESS | NUF SOLENOID ACCESSORIES PRESSURE GAUGE | 66.15
70180-000190 | 31NUFAIRCOMPRESS | NUF AIR COMPRESSOR | 754
70180-000228 |  | NUF PUMP 8GPM | 3780
NUF 20 GPM Replacement Parts
Item Number | Model Number | Description | Price Each
70180-000215 | 31NUFMEMBRANE | NUF SINGLE REPLACEMENT MEMBRANE | 53.55
70180-000120 | 31NUF0.75INCHVALVE | NUF Diaphragm valve 3/4" w/o solenoid | Call for Quote
70180-000125 | 31NUF1INCHVALVE | NUF DIAPHRAGM VALVE 1" W/O SOLENOID | 192
70180-000130 | 31NUFAIRVALVE | NUF AIR VALVE | 278
70180-000140 | 31NUF40MEMBRANES | NUF MODULE - 40 MEMBRANES | 2133
70180-000235 |  | NUF REPLACEMENT DISCS 100 MICRON | 101
70180-000145 | 31NUF25MMPVC | NUF PVC PIPE 25 - BY METER | 23.1
70180-000150 | 31NUF32MMPVC | NUF PVC PIPE 32 - BY METER | 34.65
70180-000155 | 31NUF40MMPVC | NUF PVC PIPE 40 - BY METER | 43.05
70180-000160 | 31NUF25MMSVCKIT | NUF PVC SERVICE KIT 25 | 77.7
70180-000165 | 31NUF32MMSVCKIT | NUF PVC SERVICE KIT 32 | 96.6
70180-000170 | 31NUF40MMSVCKIT | NUF PVC SERVICE KIT 40 | 116
70180-000175 | 31NUFSOLENOIDSET | NUF SOLENOID SET | 1640
70180-000180 | 31NUFCVSLNDACCESS | NUF SOLENOID ACCESSORIES CONTROL VALVE | 336
70180-000185 | 31NUFPGSLNDACCESS | NUF SOLENOID ACCESSORIES PRESSURE GAUGE | 66.15
70180-000190 | 31NUFAIRCOMPRESS | NUF AIR COMPRESSOR | 754
70180-000195 | 31NUF20GPMPUMP | NUF PUMP 20GPM | 3662
70180-000200 | 31NUF20GPMSEALKIT | NUF MECHANICAL SEAL KIT FOR PUMP 20GPM | 733
NUTRISOLVE DISSOLVING TANK AND VALVE BRIDGE
Item Number | Model Number | Description | Price Each
33800-000001 | 31NSOLVEVALBRIDGE | Nutrisolve Valve Bridge 60Hz 1600L ASTM | 8264
33800-001052 | 31NSOLVEDISOLVTANK | NTS Dissolving Tank and Accessories ASTM | 11394
NUTRISOLVE DISSOLVING TANK SPARE PARTS
Item Number | Model Number | Description | Price Each
77600-010350 | 31NSPOLYTANK1600L | Poly Tank, 1600 Liter with Legs, Drain and Level Indicator | 3110
45000-040201 | 31NSTANKBASKETSS | Stainless Steel basket for 1600 Liter Tank | 2070
33820-002100 | 31NSDISSOLVINGFLT | Dissolving Flute | 63
33820-002120 | 31NSEDUCTORSET | Eductor Set | 268
33220-006600 | 31NSLOWSWITCHASY | Low-level Switch Assembly | 122
33820-003110 | 31NSTANKLOUT1600L | Tank Outlet | 210
77600-012300 | 31NSTANKCOVER1600L | Cover for Poly Tank 1600 Liter with Door | 790
33820-003120 | 31NSFILLMANIFOLD | Filling Manifold | 165
33820-002110 | 31NSREAREDUCTMANIF | Rear Eductor Manifold | 764
NUTRISOLVE VALVE BRIDGE SPARE PARTS
Item Number | Model Number | Description | Price Each
77800-023260 | 31NSPUMPCDX200-206 | Valve Bridge Pump, Single Phase 220V | 1253
33820-001020 | 31NSVLVMANIFOLD | Manifold, Valve bridge | 237
33820-003140 | 31NSPMPOUTLT200-20 | Pump Outlet CDX 200/20 | 183
45000-040000 | 31NSFRAMEVLVBRDG | Aluminum Frame for Valve Bridge | 767
33820-003150 | 31NSPUMPINLET | Pump Inlet CDX 200/20 | 30.45
33820-003170 | 31NSFRESHINLET | Pump Fresh Water Inlet | 31.5
33820-003160 | 31NSSOLTANKOUTLET | Solution Tank Outlet | 27.3
70640-003210 | 31NSSCRNFILTER1.5 | Screen Filter, 1.5", 40 Mesh, Chemical-Resistant | 236
77120-003010 | 31NSSWB1X220X1.5KW | Nutrisolve Switchboard 1 x 220 v 1.5 Kw | 2425
77540-003350 | 31NSPRESSGAUGE | Nutrisolve Pressure gauge 250 glz 8 bar ¼" bsp | 24.15
COMMISSIONING FEES
Item Number | Model Number | Description | Price Each
79900-006100 | 31AIRTRAVEL | Air Travel, Round Trip | 1838
79900-006180 | 31VEHICLETRAVEL | Vehicle Travel / Hour | 163
79900-006160 | 31DAILYEXPENSES | Daily Expenses | 762
79900-006120 | 31ONSITESERVICE | Commissioning, Service, Training Onsite / Day / Technician | 1785
79900-006140 | 31HOURLYSERVICE | Commissioning, Service, Training / Hour / Technician, 1-hour increments | 231
79900-006150 | 31PHONESERVICE | Remote support, phone or via remote web meeting | 198
79900-006125 | 31ONSITERETROFIT | Installation, customization / Hour / Technician, 1-hour increments | 345