## DF PRICE LIST
Digital Farming Technologies
Effective: May 20,2025
All item numbers, model numbers and pricing is subject to change without notice.
Refer to the PDF or printed Price List for Terms and Conditions of Sale.
Prices in the Price List posted on the Netafim USA website take precedence over pricing in this spreadsheet.
Category Code: Y
GrowSphere ONE - Monitoring
Item Number | Model Number | Description | Price Each
74715-000014 | 31GSONEREMOTEPANEL | GROWSPHERE ONE 3 Analog Inputs, 2 Digital Inputs, and 1 Serial (RS232) Inputs. Remote Solar panel and antenna with 15 foot cable. | 1000
74715-000013 | 31GSONESOLARPANEL | GROWSPHERE ONE 3 Analog Inputs, 2 Digital Inputs, and 1 Serial (RS232) Inputs. Integrated Solar panel and antenna | 975
GrowSphere MAX - Control and Monitoring
Item Number | Model Number | Description | Price Each
74702-000080 | 31GSMAX6DO12DICNFG | GrowSphere MAX Controller: includes touch screen display, 110VAC power supply, CPU PM5052 Module, 6 expansion slots, Double Door enclosure. CPU PM5052 Module includes, 6 x Digital Outputs, 12 Digital Inputs, 1 x RS232 module and 1 x RS485 module. | 7227
GrowSphere MAX Expansion Options
Item Number | Model Number | Description | Price Each
74743-000098 | 31GSMAXDO573-16OUT | GrowSphere DO573 Output Module: includes 16 Normally Open 24VAC digital outputs. 2.0A per Output. 2 x 8 Output Isolation Groups, 10.0A per group. Shared common. Visual LED operation indicator. | 378
74743-000099 | 31GSMAXDO572-8OUT | GrowSphere DO572 Dosing Module: includes 8 Normally Open 24VAC TRIAC digital outputs. 2.0A per Output. 2.0A fuse per Output. 1 x 8 Output Isolation Groups, 10.0A per group. Visual LED operation indicator. | 378
74743-000100 | 31GSMAXAI561-4AI | GrowSphere AI561 Analog Input Module: includes 4 Analog Inputs, 24VDC Feed Voltage, 0-20mA, 4-20mA, 12 Bit, 250Ohm resistance. | 378
74743-000101 | 31GSMAXDI562-16DI | GrowSphere DI562 Digital Input Module: includes 16 Digital Inputs, 2 x 8 Input Isolation Groups. Shared common. | Call for Quote
GrowSphere Weather Station (DAVIS)
Item Number | Model Number | Description | Price Each
74730-000050 | 31GSWSDIRECTWIRE | Davis Vantage Pro2™ Weather Station - Includes all required accessories to connect the Weather Station via RS232 to a compatible GrowSphere OS Device | 2077
GrowSphere Sensor Options
Item Number | Model Number | Description | Price Each
70261-011000 | 36FM.75RG.1 | Fertilizer flow meter, ¾" Polyproylene, 0.1 USG/pulse | 504
70261-011030 | 36FM.75RG1 | Fertilizer flow meter, ¾" Polyproylene, 1 USG/pulse | 504
70261-011300 | 36FM1RG1 | Fertilizer flow meter, 1" PVC, 1 USG/pulse | 1281
00107-014020 | 31PT200-4-20MA | Pressure transducer, 200 psi, 4-20 mA, 1/4 MIPT, M12 Male connector | 574
00107-014021 | 31PTCABLE2M | Pressure transducer cable, 6 ft, M12 Female connector | 33
74730-000001 | 31NBIRROMETERMS30 | Irrometer tensiometer, most soils, 30 cm (12 in) | 392
74730-000002 | 31NBIRROMETERMS60 | Irrometer tensiometer, most soils, 60 cm (24 in) | 407
74730-000003 | 31NBIRROMETERMS90 | Irrometer tensiometer, most soils, 90 cm (36 in) | 425
74730-000004 | 31NBIRROMETERSS30 | Irrometer tensiometer, sandy soils, 30 cm (12 in) | 392
74730-000005 | 31NBIRROMETERSS60 | Irrometer tensiometer, sandy soils, 60 cm (24 in) | 407
74730-000006 | 31NBIRROMETERSS90 | Irrometer tensiometer, sandy soils, 90 cm (36 in) | 425
74730-000010 | 31NBDTSM150T | Delta-T SM150T Kit: includes sensor & cable | 454
74740-000300 | 31NBDTSM150TEXT | Delta-T SM150T extension cable, 25 m (82 ft) | 271
GrowSphere Profile Soil Moisture Probe
Item Number | Model Number | Description | Price Each
74730-000007 | 31NETACAPSMP8INCH | 8 INCH NETACAP SOIL PROBE | 576
74730-000013 | 31NETACAPSMP12INCH | 12 INCH NETACAP SOIL PROBE | 629
74730-000008 | 31NETACAPSMP16INCH | 16 INCH NETACAP SOIL PROBE | 687
74730-000009 | 31NETACAPSMP24INCH | 24 INCH NETACAP SOIL PROBE | 731
74730-000011 | 31NETACAPSMP32INCH | 32 INCH NETACAP SOIL PROBE | 731
74730-000021 | 31NETACAPSMP47INCH | 47 INCH NETACAP SOIL PROBE | 848
74730-000022 | 31NETACAPSMP59INCH | 59 INCH NETACAP SOIL PROBE | 940
74730-000023 | 31NETACAPSMP71INCH | 71 INCH NETACAP SOIL PROBE | 1026
RadioNet - Host and Base
Item Number | Model Number | Description | Price Each
74360-007600 | 31RNHBKIT | RadioNet Host Kit, for use with GrowSphere MAX controller, includes host, base, battery, battery charger, antenna with 33' cable, PoleNet programming cable, screwdriver, mounting hardware | 5316
74330-012000 | 31RNHOST | RadioNet Host, for use with NMC Pro/DC controllers | 1635
74330-012100 | 31RNBASE | RadioNet Base Radio, 450 to 470 MHz, 100mW | 817
74330-003010 | 31RN3BATCHARGER | RadioNet Host Battery Charger, 110VAC to 12VDC | 247
00107-008101 | 31RNBATT12VDC | Rechargeable Battery, 12VDC 24AH SLA | 244
00035-014780 | 31POLENETCABLE | Polenet USB RJ45 Programming Cable | 194
RadioNet - 2X2 RTU
Item Number | Model Number | Description | Price Each
74330-012195 | 31RNRTU2X2 | RadioNet 2x2 RTU, 2 latching outputs, 2 digital inputs, not expandable, can act as a repeater | 638
74330-005760 | 31RNSOLARPAN3W | RadioNet Solar Panel Kit, 9V 3W, includes solar panel, mounting bracket, charging regulator, requires rechargeable battery | 229
74330-003025 | 31RNRECHARBATT6V | RadioNet RTU Rechargeable Battery, 6VDC SLA, requires solar panel kit | 98.7
74330-002960 | 31RNSOLCHGREG | RadioNet solar panel charging regulator | 183
74330-010200 | 31RTULITHBATT | RadioNet RTU Lithium Metal Battery pack, 7.2VDC 8.5 AH, non-rechargeable | 132
74330-005020 | 31RNANTG10FT | Antenna with 10' cable | 146
74330-005060 | 31RNANG19FT | Antenna with 19' cable | 161
74330-005120 | 31RNANTG33FT | Antenna with 33' cable | 355
RadioNet - Expandable RTU
Item Number | Model Number | Description | Price Each
74330-012200 | 31RNRTU | RadioNet Expandable RTU, 1 latching output, 2 digital inputs, 4 expansion slots, expandable to 9 latching outputs and 10 digital inputs, can act as a repeater | 673
74330-013140 | 31RNEXPCARD | RadioNet RTU Expansion Card, 2 latching outputs, 2 digital inputs, limit 4 per expandable RTU | 86
74330-005760 | 31RNSOLARPAN3W | RadioNet Solar Panel Kit, 9V 3W, includes solar panel, mounting bracket, charging regulator, requires rechargeable battery | 388
74330-003025 | 31RNRECHARBATT6V | RadioNet RTU Rechargeable Battery, 6VDC SLA, requires solar panel kit | 98.7
74330-002960 | 31RNSOLCHGREG | RadioNet solar panel charging regulator | 114
74330-010200 | 31RTULITHBATT | RadioNet RTU Lithium Metal Battery pack, 7.2VDC 8.5 AH, non-rechargeable | 132
74330-005020 | 31RNANTG10FT | Antenna with 10' cable | 267
74330-005060 | 31RNANG19FT | Antenna with 19' cable | 313
74330-005120 | 31RNANTG33FT | Antenna with 33' cable | 176
RadioNet - DCP RTU (Control and Monitoring )
Item Number | Model Number | Description | Price Each
74330-012230 | 31RNDCP | R-Net DCP RTU 1XAI 3XDI Exclude Cap Card | 755
74330-012240 | 31RNRTUCAP | R-Net DCP Capacitor Card | 140
74370-003300 | 31RNDCPAIEXP | R-Net DCP Expansion Card 2 X AI | 258
00035-013150 | 31RNSERIALEXPCARD | R-Net Serial Expansion Card RS232/485/SDI12 | 214
74330-012250 | 31RNDFMEXPCARD | NetaCap Probe I/F Kit Cable and 3.5V Reg | 160
74330-005760 | 31RNSOLARPAN3W | RadioNet Solar Panel Kit, 9V 3W, includes solar panel, mounting bracket, charging regulator, requires rechargeable battery | 388
74330-003025 | 31RNRECHARBATT6V | RadioNet RTU Rechargeable Battery, 6VDC SLA, requires solar panel kit | 46
74330-002960 | 31RNSOLCHGREG | RadioNet solar panel charging regulator | 183
74330-010200 | 31RTULITHBATT | RadioNet RTU Lithium Metal Battery pack, 7.2VDC 8.5 AH, non-rechargeable | 162
74330-005020 | 31RNANTG10FT | Antenna with 10' cable | 267
74330-005060 | 31RNANG19FT | Antenna with 19' cable | 313
74330-005120 | 31RNANTG33FT | Antenna with 33' cable | 176
SingleNet Host
Item Number | Model Number | Description | Price Each
00035-001760 | 31SCSCWOPW | SingleNet Host, for use with GrowSphere MAX controller, requires 12VDC 2A power supply | 2001
77100-050320 | 31DCPOWER12V2A | SingleNet Host Power Supply, 115VAC to 12VDC 2A, Wall Plug, Screw Terminal, No Wire | 79
00035-008350 | 31SCRS | SingleNet Host card, for use with GrowSphere MAX controller, requires enclosure and 12VDC 2A power supply | 1385
00035-014780 | 31POLENETCABLE | PoleNet USB RJ45 Programming Cable | 142
00035-008300 | 31SCLPM | SingleNet Host Lightning Suppression Module | 776
SingleNet 2-Wire cable
Item Number | Model Number | Description | Price Each
00107-007980 | 31SC0016C-1000 | SingleNet RTU Cable, 1000' spool, ½" PE Conduit | 1633
00107-007990 | 31SC0016C-2500 | SingleNet RTU Cable, 2500' spool, ½" PE Conduit | 4082
00107-007960 | 31SC0016CLTC | SingleNet RTU Cable Liquid Tight Connector | 13
SingleNet RTU
Item Number | Model Number | Description | Price Each
74340-014900 | 31SCRTU2 | SingleNet RTU, 2 DC latching outputs, 2 digital inputs | 611
74340-015000 | 31SCRTU4 | SingleNet RTU, 4 DC latching outputs, 4 digital inputs | 1086
74340-015400 | 31SCRTU2PL | SingleNet RTU with Lightning Protection, 2 DC latching outputs, 2 digital inputs | 835
74340-015500 | 31SCRTU4PL | SingleNet RTU with Lightning Protection, 4 DC latching outputs, 2 digital inputs | 1372
SingleNet RTU Accessories
Item Number | Model Number | Description | Price Each
00035-008150 | 31SRTU2LAT2D | SingleNet RTU card, 2 DC latching outputs, 2 digital inputs, requires enclosure | 490
00035-008200 | 31SCRTULP | SingleNet RTU Lightning Protection card, no enclosure | 152
74340-016000 | 31SCEMPTYBOX | SingleNet RTU box, metal backplate, empty | 311
35500-003260 | 31SCRTUBRKT1 | SingleNet RTU bracket (not pictured) | 51.45
NetRTU Replacement Parts
Item Number | Model Number | Description | Price Each
74710-000003 | 31NBRTU2DO | NetBeat RTU 2DO: 915 MHz, 2 digital inputs, 3 analog inputs, 2 digital outputs, includes wall mount bracket | 525
74710-000012 | 31NBRTU8DO | NetBeat RTU 8DO: 915 MHz, 2 digital inputs, 3 analog inputs, 8 digital outputs, includes wall mount bracket | 840
74710-000009 | 31NBRTU16DO | NetBeat RTU 16DO: 915 MHz, 2 digital inputs, 3 analog inputs, 16 digital outputs, includes wall mount bracket | 1260
74740-000350 | 31NBRTUSOLAR | NetBeat RTU Solar Panel Kit: includes solar panel & mounting bracket | 233
74740-000150 | 31NBANTKIT5M | NetBeat LoRa Remote Antenna Kit 5 m: includes antenna, mounting bracket, 5 m (16 ft) coax cable | 237
74740-000135 | 31NBANTKIT10M | NetBeat LoRa Remote Antenna Kit 10 m: includes antenna, mounting bracket, 10 m (33 ft) cable | 365
74740-000028 | 31NBLORAHIGAINKIT | NETMCU/RTU 8DBI HIGH GAIN ANTENNA KIT | 1200
74740-000110 | 31NBMCULORAANT | LoRa Antenna 915MHz | 53
74740-000111 | 31NBLORACABLE10M | LoRa Antenna Cable 10 m (33 ft) (not pictured) | 284
74740-000114 | 31NBLORACABLE5M | LoRa Antenna Cable 5 m (16 ft) (not pictured) | 178
74740-000120 | 31NBANTHOLD | Remote Antenna Bracket (not pictured) | 4.7
EC/pH Monitoring
Item Number | Model Number | Description | Price Each
74360-007901 |  | EC/pH transmitter, panel mount/wall mount AWT420 | 2423
74360-007970 |  | EC replacement module for AWT420 | Call for Quote
74360-007971 |  | pH replacement module for AWT420 | Call for Quote
45000-006692 | 31PHSENS4GBNC | pH sensor, JUMO 12mm, glass, BNC connector | 345
45000-006705 | 31ECSENSABB4G | EC & temperature sensor, JUMO 12mm, bare wire | 638
FERTIONE PLUS
Item Number | Model Number | Description | Price Each
33250-000600 | 31FTO+50PSI | FertiOne Plus Low Pressure: suitable for mainlines with operating pressure between 29 and 58 psi; includes 2 fertilizer/diluted acid channels at 158 GPH, 440VAC three phase booster pump (MTX5-2 60Hz 0.95 kW 1.28 HP) electrical control box with manual starter, contactor, Manual-Off-Auto selector switch, SCH 80 NPT PVC fittings | 5258
33250-000601 | 31FTO+80PSI | FertiOne Plus High Pressure: suitable for mainlines with operating pressure between 58 and 87 psi; includes 2 fertilizer/diluted acid channels at 158 GPH, 440VAC three phase booster pump (MTX5-3 60Hz 1.35 kW 1.81 HP) electrical control box with manual starter, contactor, Manual-Off-Auto selector switch, SCH 80 NPT PVC fittings | 5337
33250-000603 | 31FTO+50PSI1PH | FertiOne Plus Low Pressure Single Phase: suitable for mainlines with operating pressure between 29 and 58 psi; includes 2 fertilizer/diluted acid channels at 158 GPH, 220VAC single phase booster pump (MTX5-2 60Hz 0.9 kW 1.2 HP), electrical control box with manual starter, contactor, Manual-Off-Auto selector switch, SCH 80 NPT PVC fittings | 5224
33250-000602 | 31FTO+80PSI1PH | FertiOne Plus High Pressure Single Phase: suitable for mainlines with operating pressure between 58 and 87 psi; includes 2 fertilizer/diluted acid channels at 158 GPH, 220VAC single phase booster pump (MTX5-3 60Hz 1.3 kW 1.8 HP), electrical control box with manual starter, contactor, Manual-Off-Auto selector switch, SCH 80 NPT PVC fittings | 5337
FERTIONE PLUS SPARE PARTS
Item Number | Model Number | Description | Price Each
45000-040720 | - | FTOUS Aluminum Frame | 416
77800-025525 | 31FTO+PUMPMXT5-2 | Pump MTX 5-2T6 3x220/440 60 Hz | 895
77800-025515 | 31FTO+PUMPMXT5-3 | Pump MTX 5-3T6 3x220/440 60 Hz | 1028
77800-025520 | 31FKPUMPE52T6 | Pump MTX 5-2T6/0.9m 1x220 6.3A 60 Hz | 986
77800-023250 | 31FKPUMPE53T6 | Pump MTX 5-3T6/1.3M 1x220 7.7A 60Hz | 1183
77210-003350 | - | FTOUS Switchbox MTX 5-2T6 60 Hz | Call for Quote
77210-003360 | - | FTOUS Switchbox MTX 5-3T6 60 Hz | Call for Quote
77210-003370 | - | FTOUS Switchbox MTX 1x220V 6.3-10A 0.9-1.3KW | Call for Quote
77120-003350 | - | Overload 1.6-2.5 A for FertiOne, GV2ME01, MTX 5-2 3x440 2.2A | 134
77120-003360 | - | Overload 2.5-4 A for FertiOne, GV2ME08, MTX 5-2 3x440 2.9A | 134
77100-011935 | - | Overload 4-6.3 A for FertiOne, GV2ME10, MTX 5-2 3x220 4A, MTX 5-3 3x220 5.3A | 134
33241-000699 | - | FTOUS Inlet to Dosing Booster Set | 415
33241-000704 | - | FTOUS Dosing Booster Outlet | 170
33241-000698 | - | FTOUS Suction Manifold Set | 868
33241-000705 | 31FTO+DOSCHNVERT | FTOUS Assembled Dosing Channel 160 GPH SCH80 | 746
33241-000697 | - | FTOUS Inlet to Venturi Set | 501
77540-003400 | - | Pressure Gauge 250 GLZ 145 psi 1/4” BSP | 24
70561-003730 | 65ARIS075-PP | Air Valve 3/4” DG-010 NPT | 178
77540-008470 | 31FTO+DOSVLVS12 | Dosing Valve FIP S12 24VAC 50/60H Z 3/8” | 328
76420-007955 | 31FTO+CHKVLV | Line Check Valve 3/4” *3/4” EPDM | 68
76400-011376 | 31FTO+NEEDLEVLV | Needle Valve 1/2” High Flow | 43
77540-007590 | 31FTO+ROTOMETER | STUBBE Rotometer DFM 185 16-160 GPH ASTM | 155
FERTIKIT 5G with GrowSphere MAX
Item Number | Model Number | Description | List Price
74722-000082 | 31FK5GSP2F351AC13GSMAX | FertiKit 5G SP NPT Low Flow, includes 4 dosing channel slots, 2 Fertilizer Dosing Channels at 35 GPH, 1 Acid Dosing Channel at 13 GPH, and 1 expansion slot for dosing channel slot (13 GPH or 35 GPH only), 220VAC single phase booster pump (MTX5-3 60Hz), electrical control box with disconnect, pump breaker, and Hand-Off-Auto selector switch, SCH 80 NPT PVC fittings. EC/pH Monitoring Kit, includes AWT420 Monitor (24VAC, wall mount), 1 EC sensor, 1 pH sensor, calibration fluid packets (5 each of pH 7.0, pH 4.0, EC 1.41), PVC unions. GrowSphere MAX Irrigation Controller, 115VAC power supply, 100VA 24VAC transformer, includes PM5052 Main Module with 12 Digital Inputs (1 used by FertiKit) and 6x24VAC outputs (1 used by FertiKit), DO572 Dosing Module with 8x24VAC TRIAC outputs (4 used by the Fertkit), AI561 Analog Input Module with 4x4-20mA inputs (2 used by EC/pH Monitoring Kit), HMI Screen, Cellular Router with Global FloLive SIM card, 6 expansion slots, double door enclosure. | 24079
74722-000078 | 31FK5GSP2F901AC13GSMAX | FertiKit 5G SP NPT High Flow, includes 4 dosing channel slots, 2 Fertilizer Dosing Channels at 90 GPH, 1 Acid Dosing Channel at 13 GPH, and 1 expansion slot for dosing channel slot (13, 35, or 90 GPH dosing channel), 440VAC three phase booster pump (CM15-2), electrical control box with disconnect, pump breaker, and Hand-Off-Auto selector switch, SCH 80 NPT PVC fittings. EC/pH Monitoring Kit, includes AWT420 Monitor (24VAC, wall mount), 1 EC sensor, 1 pH sensor, calibration fluid packets (5 each of pH 7.0, pH 4.0, EC 1.41), PVC unions. GrowSphere MAX Irrigation Controller, 115VAC power supply, 100VA 24VAC transformer, includes PM5052 Main Module with 12 Digital Inputs (1 used by FertiKit) and 6x24VAC outputs (1 used by FertiKit), DO572 Dosing Module with 8x24VAC TRIAC outputs (4 used by the Fertkit), AI561 Analog Input Module with 4x4-20mA inputs (2 used by EC/pH Monitoring Kit), HMI Screen, Cellular Router with Global FloLive SIM card, 6 expansion slots, double door enclosure. | 25440
FERTIKIT 5G SP NPT EXPANSION OPTIONS
Item Number | Model Number | Description | Price Each
33241-009210 | 31FKNPT13GPHCHN | FertiKit 5G SP NPT Acid Dosing Channel 13 GPH, complete, Baccara Solenoid, SCH80 | 1216
33241-009200 | 31FKNPT35GPHCHN | FertiKit 5G SP NPT Fertilizer Dosing Channel 35 GPH, complete, FIP S12 Solenoid, SCH80 | 1218
33241-009220 | 31FKNPT90GPHCHN | FertiKit 5G SP NPT Fertilizer Dosing Channel 90 GPH, complete, FIP S12 Solenoid, SCH80 | 1368
FertiKit 5G SP NPT SPARE PARTS
Item Number | Model Number | Description | Price Each
33241-009040 | 31FKNPTINMTX53 | FertiKit 5G SP NPT Inlet to MTX5-3 60Hz pump, SCH80 | 386
33241-009030 | 31FKNPTINCM152 | FertiKit 5G SP NPT Inlet to CM15-2 60Hz pump, SCH80 | 401
33241-009060 | 31FKNPTOUTMTX53 | FertiKit 5G SP NPT Outlet from MTX5-3 60Hz pump, SCH80 | 355
33241-009050 | 31FKNPTOUTCM152 | FertiKit 5G SP NPT Outlet from CM15-2 60Hz pump, SCH80 | 386
33241-009080 | 31FKNPTUPPERMAN | FertiKit 5G SP NPT Upper manifold, SCH80 | 708
33241-000002 | 31FKNPTVENTOUT | FertiKit 5G SP NPT Venturi outlet, 1" MIPT SCH80 | 160
33241-009110 | 31FK3SNPTVENT13GPH | FertiKit 5G SP NPT Venturi, PVDF (Viton), 13 GPH, SCH80 | 258
33241-009100 | 31FK3SNPTVENT40GPH | FertiKit 5G SP NPT Venturi, polypropylene, 40 GPH, SCH80 | 180
33241-009090 | 31FK3SNPTVENT90GPH | FertiKit 5G SP NPT Venturi, polypropylene, 90 GPH, SCH80 | 255
33241-009210 | 31FKNPT13GPHCHN | FertiKit 5G SP NPT Acid dosing channel 13 GPH, complete, Baccara solenoid, SCH80 | 1216
33241-009200 | 31FKNPT35GPHCHN | FertiKit 5G SP NPT Fertilizer dosing channel 35 GPH, complete, FIP S12 solenoid, SCH80 | 1218
| 31FK3SNPTVERT40GPH | FertiKit 5G SP NPT Fertilizer dosing channel, Vertical Part, 4-40 GPH, SCH80 | 267
| 31FK3SNPTHRZNFS12 | FertiKit 5G SP NPT Fertilizer dosing channel, Horizontal Part FIP S12 solenoid, SCH80 | 468
33241-009220 | 31FKNPT90GPHCHN | FertiKit 5G SP NPT Fertilizer dosing channel, complete, FIP S12 solenoid, SCH80 | 1368
| 31FK3SNPTVERT90GPH | FertiKit 5G SP NPT Fertilizer dosing channel, Vertical Part, 10-90 GPH, SCH80 | 263
| 31FK3SNPTHRZNFS12 | FertiKit 5G SP NPT Fertilizer dosing channel, Horizontal Part FIP S12 solenoid, SCH80 | 468
76400-011375 | 31FKNDLEVLVORNG | FertiKit 5G SP NPT Sampling valve | 43
70561-003730 | 65ARIS075-PP | Continuous air vent, ¾" MIPT (DG-010) | 178
77800-023250 | 31FKPUMPE53T6 | MTX5-3 60Hz 220VAC 7.7A Single phase pump, 1.3kW | 1183
77800-002996 | 31FKPUMPCM15-2 | CM15-2 60Hz 220VAC 14.8A / 440VAC 7.2A Three phase pump, 4kW | 2775
45000-008759 | 31FK3ALMFRMPUMP | Aluminum frame set for pump | 181
- | - | Aluminum frame (not available as a spare part) | 0
33220-001300 | 31FKNPTSWBDMTRX | Pump switchboard for MTX5-3 | 1886
77100-013640 | 31FKLUCBC12B | Pump switchboard contactor for MTX5-3 | 410
33220-001450 | 31FKNPTSWBDCM15 | Pump switchboard for CM15-2 | 1759
77100-013620 | 31FKLUCBC18B | Pump switchboard contactor for CM15-2 | 371
74360-007901 |  | EC/pH transmitter, panel mount/wall mount AWT420 | 2423
33240-000026 |  | Aluminum frame for Grow Sphere Max controller with-Front plate | Call for Quote
33240-000028 |  | EC/pH transmitter mounting KIT | Call for Quote
77400-027100 | 31PLUG.75 | Plug, ¾" MIPT SCH80 | 4.4
77540-003400 | 31FKPRESGAUGE145P | Pressure gauge, 145 psi (10 bar), ¼" BSP male | 24
45000-006692 | 31PHSENS4GBNC | pH sensor, JUMO 12mm, glass, BNC connector | 345
45000-006705 | 31ECSENSABB4G | EC & temperature sensor, JUMO 12mm, bare wire | 638
33120-008500 | 31SNSUNION | EC/pH sensor union set, ¾" MIPT | 95
77800-002180 | 31FKPRESSWITCH | Pressure switch, 14 to 45 psi (1 to 3 bar), ¼" BSP male | 230
77800-000019 | 31FKEMTXSEALKIT | Ebara Matrix 5 Seal Kit | 110
77800-025566 | 31FKEMTXSCREWKIT | Ebara Matrix 5 Drain Tank Screw Kit | 34
FERTIKIT 3G SP METRIC SPARE PARTS
Item Number | Model Number | Description | Price Each
33240-025000 | - | FertiKit 3G SP Inlet | 230
33240-005670 | 31FKPUMPEOUTKIT | Pump inlet & outlet for MTX5-3 | 146
33240-002666 | 31FK3BPADP2 | Pump inlet for CM15-2 | 73
33240-005670 | 31FKPUMPEOUTKIT | Pump inlet & outlet for MTX5-3 | 146
33240-000018 | 31FK3BPACM15-2OUT | Pump outlet for CM15-2 | 57
77300-025045 | 31FK3CHCKVLV50 | FertiKit 3G check valve, 50mm | 99
33240-002100 | 31FKIT3GMANIF | FertiKit 3G SP Upper manifold | 380
33240-002251 | 31FK3PVCRED50-05 | Reducer, DN50 x 1/2" | 50
33220-002110 | 31FK3GSPLOWERMANIF | FertiKit 3G SP Lower manifold (with separation discs) | 457
33240-002252 | 31FK3PVCRED50-75 | Reducer, DN50 x 3/4" | 50
33240-004100 | 31FK3ELBOW | Elbow for gauge | 30
33240-003200 | 31FK3SVENT13GPH | Venturi for Concentrated Acid, 13 GPH | 280
33240-002300 | 31FK3SVENT35GPH | Venturi for Fertilizer, 35 GPH | 131
33240-002320 | 31FK3SVENT65GPH | Venturi for Fertilizer, 95 GPH | 321
33230-002000 | 31FK3GDCH13GPHAB | FertiKit 3G Acid Channel 13 GPH Complete (Baccara Solenoid) | 1000
33230-001550 | 31FK3GDCH40GPHF | FertiKit 3G Dosing Channel 35 GPH Complete (FIP S12 Solenoid) | 1044
33230-001670 | 31FK3GDCH95GPHF | FertiKit 3G Dosing Channel 95 GPH Complete (FIP S12 Solenoid) | 1170
33240-006010 | 31FK3GDCH95GPHVNCV | NFXSP-Dosing Channel- 400L No Check Valve | 761
33230-004150 | 31BURKETKITMTRC | FertiKit 3G SP Acid dosing channel, horizontal part, Burkert solenoid, metric | 1843
76400-011375 | 31FKNDLEVLVORNG | FertiKit 3G SP NPT Sampling valve | 43
70561-003730 | 65ARIS075-PP | Continuous air vent, 3/4" MIPT (DG-010) | 178
77800-023250 | 31FKPUMPE53T6 | MTX5-3 60Hz 220VAC 7.7A Single phase pump, 1.3kW | 1183
77800-002996 | 31FKPUMPCM15-2 | CM15-2 60Hz 220VAC 14.8A / 440VAC 7.2A Three phase pump, 4kW | 2775
45000-008759 | 31FK3ALMFRMPUMP | Aluminum frame set for pump | 181
- | - | Aluminum frame (not available as a spare part) | 0
33220-001300 | 31FKNPTSWBDMTRX | Pump switchboard for MTX5-3 | 1886
77100-013640 | 31FKLUCBC12B | Pump switchboard contactor for MTX5-3 | 410
33220-001450 | 31FKNPTSWBDCM15 | Pump switchboard for CM15-2 | 1759
77100-013620 | 31FKLUCBC18B | Pump switchboard contactor for CM15-2 | 371
74340-003580 | 31ECPH4G24ACWL | EC/pH 4G Monitor, 24vAC, Wall Mount, requires EC and pH sensor | 974
45000-008757 | 31FK3ALMFRMNMCPRO | Aluminum frame set for NMC Pro controller | 388
45000-008758 | 31FK3ALMFRMNMCJR | Aluminum frame set for NMC Jr Pro controller | 388
77300-016010 | 31PLUGDN16 | Plug, DN16 (1/2") BSP | 2.1
00110-001810 | 6809020-160 | Pressure gauge, 1/4" MIPT, 0-160 psi | 91
45000-006701 | 31PHSENSABB | pH sensor, JUMO 12mm, glass, bare wire | 456
45000-006705 | 31ECSENSABB4G | EC & temperature sensor, JUMO 12mm, bare wire | 638
33120-008500 | 31SNSUNION | EC/pH sensor union set, 3/4" BSP | 95
77800-002180 | 31FKPRESSWITCH | Pressure switch, 14 to 45 psi (1 to 3 bar), 1/4" BSP male | 230
77400-027100 | 31PLUGDN8 | Plug, DN8 (1/4") BSP | 4.4
NETAFLEX 3G
Item Number | Model Number | Description | Price Each
33400-000012 | 31NF6F150CM15-2 | NetaFlex 3G: High Flow (up to 80 GPM): includes 6 fertilizer dosing channels at 150 l/h (35 GPH), can be used for diluted acid (see manual for limitations), 220VAC three phase booster pump (CM15-2), electrical control box with disconnect, pump breaker,and Hand-Off-Auto selector switch, metal enclosure EC/pH Monitoring Kit: includes 4G Monitor (24VAC, panel mount), 1 EC sensor, 1 pH sensor, calibration fluid packets (5 each of pH 7.0, pH 4.0, EC 1.41), PVC unions NMC Pro Irrigation Controller: 115VAC power supply, 250VA 24VAC transformer, includes 16 24VAC outputs (7 used by NetaFlex, 9 free), 8 digital inputs (1 used by NetaFlex, 7 free), 11 analog inputs (2 used by EC/pH Monitoring Kit, 9 free), data plug backup key, 6 expansion slots | 30912
33400-000013 | 31NF6F50CM10-2 | NetaFlex 3G: Low Flow (up to 50 GPM): includes 6 fertilizer dosing channels at 50 l/h (13 GPH), can be used for diluted acid (see manual for limitations), 220VAC three phase booster pump (CM10-2), electrical control box with disconnect, pump breaker, and Hand-Off-Auto selector switch, metal enclosure EC/pH Monitoring Kit: includes 4G Monitor (24VAC, panel mount), 1 EC sensor, 1 pH sensor, calibration fluid packets (5 each of pH 7.0, pH 4.0, EC 1.41), PVC unions NMC Pro Irrigation Controller: 115VAC power supply, 250VA 24VAC transformer, includes 16 24VAC outputs (7 used by NetaFlex, 9 free), 8 digital inputs (1 used by NetaFlex, 7 free), 11 analog inputs (2 used by EC/pH Monitoring Kit, 9 free), data plug backup key, 6 expansion slots | 30085
NETAFLEX 3G SPARE PARTS
Item Number | Model Number | Description | Price Each
77100-013620 | 31FKLUCBC18B | Contactor for CM10-2 & 15-2 pump | 371
77600-001986 | 31NFTANK200L | WATER TANK 200L-BLUE55CM DIAM.114CM-HIGH | Call for Quote
33240-006878 | 31NFINLET | NetaFlex Inlet Kit | 578
33240-006660 | 31NFINLET2VLV | System Inlet (part of kit) | 122
71600-035968 | 3161FL323PLNOFLOAT | Float valve (part of kit) | 391
33240-006310 | 31NFINLETVLV2TANK | Float valve to tank adaptor (part of kit) | 191
33240-006400 | 31NFMANTANKINLET | Lower manifold to tank adaptor | Call for Quote
33240-006881 | 31NFPUMPINCM10-2 | Tank to Pump Inlet Kit for Grundfos CM10-2 | Call for Quote
33240-006879 | 31NFPUMPINCM15-2 | Tank to Pump Inlet Kit for Grundfos CM15-2 | Call for Quote
33240-006880 | 31NFPUMPOUTCM10-2 | Pump Outlet for Grundfos CM10-2 | Call for Quote
33240-006877 | 31NFPUMPOUTCM15-2 | Pump Outlet for Grundfos CM15-2 | Call for Quote
77400-032600 | 31NFOUTLETCHKVLV | Check valve (part of kit) | 163
77540-007100 | 31NFSCREENFILTER | Screen Filter 100 Mesh | 175
77540-007110 | 31NFSCRELEMENTPVCU | Screen Filter Element 100 Mesh | 26
77540-007120 | 31NFSCRELEMENTSS | Screen Filter Element 240 Mesh | 26
33240-002100 | 31FKIT3GMANIF | Upper / lower manifold | 380
33240-003200 | 31FK3SVENT13GPH | Venturi PVDF-M50 (13 GPH) | 280
33240-003250 | 31FK3SVENT13GPHD | Venturi PVDF-M50 (13 GPH) Dual | 290
33240-002370 | 31FK3SVENT150GPH | Venturi PVC-N600 (158 GPH) | 158
33240-002375 | 31FK3SVENT150GPHD | Venturi PVC-N600 (158 GPH) Dual | 170
33230-007500 | 31NF3GDCH13GPHV | NETAFLEX-DOSING CHANNEL-13GPH | 605
33230-501000 | 31NF3GDCH35GPHV | NETAFLEX-DOSING CHANNEL-35GPH | 574
33230-001680 | 31FK3GDCH95GPHV | FSA-CH-400L/H-S12-VITON-PP370 | 964
33240-002251 | 31FK3PVCRED50-05 | Reducer 50mm - 1/2" | 50
77300-016010 | - | PVC threaded plug 1/2" - male | Call for Quote
77300-016000 | - | Plug 1/4" | Call for Quote
76400-003503 | 55P4694804-B | Plastic Male 90º Elbow 8 mm x 1/4” (10/bag) | 59.4
00110-001810 | 6809020-160 | Pressure Gauge 0-160 psi, ¼” | 91
77400-027100 | 31PLUGDN8 | PVC threaded plug 3/4" - male | Call for Quote
33240-003050 | 31ECPHMANIFOLD | EC/pH manifold (single EC & pH) | 187
33120-008500 | 31SNSUNION | Union adapter set for EC/pH sensor | 95
45000-006705 | 31ECSENSABB4G | EC+TEMP SENSOR JUMO 12MM | 638
45000-006692 | 31PHSENS4GBNC | PH SENSOR JUMO 12MM GLASS W/BNC CONNECT | 345
75080-002900 | 31WLFLOAT.5 | Water level float 1/2" | 42
77600-014000 | 31NFTANKSEALFERT | Penetration seal for lower manifold to tank adaptor | 28
77600-006550 | 31NFTANKSEALINOUT | Penetration seal for Tank Inlet/Outlet | 28
77600-006510 | 31NFOVERFLOWSEAL | Penetration seal for Overflow assembly | 28
77100-007930 | 31NFLOWSWITCH | Low level switch | 86
33240-006220 | 31NFFLOWSWITCHCASE | Low level switch casing | 163
33240-006450 | 31NFOVERFLOW | Overflow assembly | Call for Quote
77800-027315 | 31FKPUMPCR45-1 | Grundfos CR45-1 Pump, Three Phase 60Hz | 9444
77800-003019 | 31FKPUMPCM10-2 | Grundfos CM10-2 Pump, Three Phase 60Hz | 1923
77800-002996 | 31FKPUMPCM15-2 | Grundfos CM15-2 Pump, Three Phase 60Hz | 2775
NMC PRO IRRIGATION CONTROLLER
Item Number | Model Number | Description | Price Each
74340-003095 | 31NMCPRO | NMC Pro Irrigation Controller, 115VAC power supply, 80VA 24VAC transformer, includes 16 24VAC outputs, 8 digital inputs, data plug backup key, 7 expansion slots, double door enclosure, and external 115VAC surge suppressor | 7668
NMC PRO CONTROLLER COMMUNICATION OPTIONS
Item Number | Model Number | Description | Price Each
74340-000020 | 31NMCAIR+KIT-VZ | NMC Air+ Kit for the NMC Pro or Junior controller, includes NMC Air+ Comm-box, Verizon cellular modem, 115VAC power supply, enclosure, and 1-year license. RS485 communication card is required but it is not included. If the NMC Pro does not already have the RS485 communication card, please select either 74340-009200 or 74340-012800. | 4834
74340-000021 | 31NMCAIR+COMBOX-VZ | NMC Air+ Comm-box with Verizon cellular modem (replacement part) | 4624
74340-000018 | 31NMCAIR+ANNUALFEE | NMC Air + Annual Subscription for NMC PRO and NMC JR PRO | 1200
NMC PRO & CLIMATE CONTROLLER SENSOR OPTIONS
Item Number | Model Number | Description | Price Each
74340-004955 | 31NMCWEATHER | Weather Station for NMC Pro controller, includes solar radiation, wind speed, wind direction, temperature, humidity, and tipping rain bucket | 4677
74340-000002 | 31GHTRH | Greenhouse temperature and relative humidity kit, includes temperature sensor, relative humidity sensor, powered ventilation box | 1569
74340-004270 | 31GHT | Greenhouse temperature kit, includes temperature sensor and powered ventilation box | 891
74340-008200 | 31TEMP/RH | Temperature and relative humidity sensors with basic shield | 1535
74340-004300 | 31TEMP | Temperature sensor with basic shield | 286
00107-014020 | 31PT200-4-20MA | Pressure transducer, 200 psi, 4-20mA, 1/4 MIPT, M12 Male connector | 574
00107-014021 | 31PTCABLE2M | Pressure transducer, 2 m (6 ft), M12 Female connector | 33
33000-003315 | 31ECPHKIT4G | EC & pH Kit, includes 24VAC wall mount transmitter, 1 EC sensor, 1 pH sensor, calibration fluid packets (5 each of pH 7.0, pH 4.0, EC 1.41), PVC unions | 2036
NMC PRO EXPANSION OPTIONS
Item Number | Model Number | Description | Price Each
74340-014100 | 31NMCPROXPANBX | NMC Pro Expansion Box (up to 3 per NMC Pro controller), 115VAC power supply, 350VA 24VAC transformer, includes expansion CPU with RS232/RS485 communication, 10 expansion slots, and enclosure. Requires input/output boards | 3476
74340-008500 | 31NMC64OB | Output board, 8 outputs, 24VAC (limit 5 per NMC Pro / NMC Pro expansion box) | 583
74340-008600 | 31NMC64OBDC | Output board, 8 outputs, dry contact (limit 8 per NMC Pro / NMC Pro expansion box) | 583
74340-008800 | 31NMC64IBDP | Input board, 8 digital/pulse inputs (limit 4 per NMC Pro / NMC Pro expansion box) | 539
74340-008900 | 31NMC64IBA | Input board, 11 analog inputs (limit 2 per NMC Pro / NMC Pro expansion box) | 626
74340-009530 | 31NMCPROLICENSEKEY | NMC Pro/DC RTU license key, 128 outputs | 1105
74340-009560 | 31NMCPROLICENSE256 | NMC Pro/DC RTU license key, 256 outputs | 2007
NMC PRO SPARE PARTS
Item Number | Model Number | Description | Price Each
74340-004920 | 31NMCPRODISP | NMC Pro/DC Display with LED Backlight | 1191
74340-003300 | 31NMCPROKEY | NMC Pro/DC Keyboard for LED Backlight | 419
74340-020800 | 31NMCPRORIBBONS | NMC Pro/DC Display and Keyboard Ribbon Cable Set | Call for Quote
74340-014600 | 31NMCPROCPUCARD | NMC Pro CPU Card, includes SD Card | 2113
74340-012700 | 31NMCPROCPUEXP | NMC Pro Expansion CPU Card | 811
74340-014650 | 31NMCSDCARD | NMC Pro/DC/Jr Pro SD Card | 52
74340-007800 | 31NMC64IOBUSS | NMC Pro I/O Bus Card | 273
74340-007900 | 31NMC64PS | NMC Pro Power Supply Card, 115VAC | 903
74340-009300 | 31NMCPROPWR12V | NMC Pro Power Supply Card, 12VDC | 458
74340-008050 | 31NMCPROTRANS24 | NMC Pro 115/24VAC transformer (requires 74340-007900) | 242
74340-008500 | 31NMC64OB | NMC Pro Output card, 8 outputs, 24VAC (limit 5 per NMC Pro / NMC Pro expansion box) | 583
74340-008600 | 31NMC64OBDC | NMC Pro Output card, 8 outputs, dry contact (limit 8 per NMC Pro / NMC Pro expansion box) | 583
74340-008800 | 31NMC64IBDP | NMC Pro Input card, 8 digital/pulse inputs (limit 4 per NMC Pro / NMC Pro expansion box) | 539
74340-008900 | 31NMC64IBA | NMC Pro Input card, 11 analog inputs (limit 2 per NMC Pro / NMC Pro expansion box) | 626
74340-014500 | 31NMCPRODP | NMC Pro/DC/Jr Pro Data Plug (Gold) | 249
74340-009100 | 31NMCCR | NMC Pro/DC Communication Card RS232 / RS232 | 1524
74340-009200 | 31NMC64CC | NMC Pro/DC Communication Card RS485 / RS232 | 539
74340-012800 | 31NMCPRO2RS485 | NMC Pro/DC Communication Card RS485 / RS485 | 554
74340-016670 | 31NCMPROBOXDBL | NMC Pro Double Door Enclosure, includes box, metal door, metal back plate, and stickers | 1027
74340-001930 | 31NMCLATCHDOOR | NMC Pro Double Door Latch | 27
74340-003760 | 31NMCPLPBOX | NMC Pro/Jr Pro Power Supply Surge Suppressor | 257
74340-014700 | 31NMC64UPKIT | NMC 64 Upgrade Kit, includes NMC Pro CPU, SD Card, Digital Input Card V3 Chip, NMC Pro/DC/Jr Pro Data Plug (Gold) | 2588
NMC JUNIOR PRO
Item Number | Model Number | Description | Price Each
74340-023960 | 31NMCJRPROLC | NMC Junior Pro Irrigation Controller, 115VAC power supply, 50VA 24VAC transformer, includes 15 24VAC outputs, 6 digital inputs, 5 analog inputs (1 EC, 1 pH, 2 Temperature, 1 Humidity sensor), data plug backup key, double door enclosure, and external 115VAC surge suppressor | 3290
NMC JUNIOR PRO COMMUNICATION OPTIONS
Item Number | Model Number | Description | Price Each
74340-000020 | 31NMCAIR+KIT-VZ | NMC Air+ Kit for the NMC Pro or Junior controller, includes NMC Air+ Comm-box, Verizon cellular modem, 115VAC power supply, enclosure, and 1-year license. RS485 communication card is required but it is not included. If the NMC Junior Pro does not already have the RS485 communication card, please select 74340-006700. | 4834
74340-000021 | 31NMCAIR+COMBOX-VZ | NMC Air+ Comm-box with Verizon cellular modem (replacement part) | 4624
74340-000018 | 31NMCAIR+ANNUALFEE | NMC Air + Annual Subscription for NMC PRO and NMC JR PRO | 1200
NMC JUNIOR PRO SENSOR OPTIONS
Item Number | Model Number | Description | Price Each
74340-000002 | 31GHTRH | Greenhouse temperature and relative humidity kit, includes temperature sensor, relative humidity sensor, powered ventilation box | 1569
74340-004270 | 31GHT | Greenhouse temperature kit, includes temperature sensor and powered ventilation box | 891
74340-008200 | 31TEMP/RH | Temperature and relative humidity sensors with basic shield | 1535
74340-004300 | 31TEMP | Temperature sensor with basic shield | 286
33000-003315 | 31ECPHKIT4G | EC & pH Kit, includes 24VAC wall mount transmitter, 1 EC sensor, 1 pH sensor, calibration fluid packets (5 each of pH 7.0, pH 4.0, EC 1.41), PVC unions | 2036
NMC JUNIOR PRO SPARE PARTS
Item Number | Model Number | Description | Price Each
74340-004920 | 31NMCPRODISP | NMC Pro/DC/Jr Pro Display with LED Backlight | 1191
74340-009980 | 31NMCJRPROLEDCPU | NMC Jr Pro CPU & Keyboard for LED Backlight | 1053
74340-014650 | 31NMCSDCARD | NMC Pro/DC/Jr Pro SD Card | 52
74340-014500 | 31NMCPRODP | NMC Pro/DC/Jr Pro Data Plug (Gold) | 249
74340-004973 | 31NMCJRDISPCABLE | NMC Jr Pro Ribbon Cable for Display | 28
74340-004972 | 31NMCJRINOUTCABLE | NMC Jr Pro Ribbon Cable for I/O Card | 28
74340-004995 | 31NMCJRPSCARD115V | NMC Jr Pro Power Supply Card, 115VAC | 604
74340-004997 | 31NMCJRPSDC | NMC Jr Pro Power Supply Card, 12VDC | 458
74340-006500 | 31NMC15I/OCABLE | NMC Jr Pro Power Supply I/O Card Bridge | 46
74340-005103 | 31NMCJRINOUTCHIP | NMC Jr Pro I/O Control Chip | 28
74340-009490 | 31NMCJRINOUTCARD | NMC Jr Pro I/O Card, 15 outputs, 6 digital inputs, 5 analog inputs (1 EC, 1 pH, 2 Temperature, 1 Humidity) | 787
74340-006600 | 31NMC15RS232 | NMC Jr Pro Communication Card, RS232 | 615
74340-006700 | 31NMCJRRS485 | NMC Jr Pro Communication Card, RS485 | 615
74340-014750 | 31NMCJRDDBOX | NMC Jr Pro Double Door Enclosure, includes box, metal door, metal backplate (requires 74340-016560) | 281
74340-016560 | 31NMCJRSTICKER | NMC Jr Pro Sticker | 52
74340-006650 | 31NMCJRDCLATCH | NMC DC/Jr Pro Door Latch | 23
74340-003760 | 31NMCPLPBOX | NMC Power Supply Surge Suppressor | 257
NMC DC
Item Number | Model Number | Description | Price Each
74340-013950 | 31NMCDC | NMC DC Irrigation Controller, 12VDC charging regulator, includes 8 12VDC latching outputs, 4 digital inputs, 4 analog inputs, data plug backup key, double door enclosure, requires solar panel or 12VDC power supply | 4707
NMC DC SENSOR OPTIONS
Item Number | Model Number | Description | Price Each
74340-000002 | 31GHTRH | Greenhouse temperature and relative humidity kit, includes temperature sensor, relative humidity sensor, powered ventilation box | 1569
74340-004270 | 31GHT | Greenhouse temperature kit, includes temperature sensor and powered ventilation box | 891
74340-008200 | 31TEMP/RH | Temperature and relative humidity sensors with basic shield | 1535
74340-004300 | 31TEMP | Temperature sensor with basic shield | 286
00107-014020 | 31PT200-4-20MA | Pressure transducer, 200 psi, 4-20mA, 1/4 MIPT, M12 Male connector | 574
00107-014021 | 31PTCABLE2M | Pressure transducer, 2 m (6 ft), M12 Female connector | 33
33000-003315 | 31ECPHKIT4G | EC & pH Kit, includes 24VAC wall mount transmitter, 1 EC sensor, 1 pH sensor, calibration fluid packets (5 each of pH 7.0, pH 4.0, EC 1.41), PVC unions | 2036
NMC DC EXPANSION UNITS
Item Number | Model Number | Description | Price Each
74340-009530 | 31NMCPROLICENSEKEY | NMC Pro/DC RTU license key, 128 outputs | 1105
74340-009560 | 31NMCPROLICENSE256 | NMC Pro/DC RTU license key, 256 outputs | 2007
NMC DC SPARE PARTS
Item Number | Model Number | Description | Price Each
74340-004920 | 31NMCPRODISP | NMC Pro/DC/Jr Pro Display with LED Backlight | 1191
74340-003300 | 31NMCPROKEY | NMC Pro/DC Keyboard for LED Backlight | 419
74340-008300 | 31NMCPROFLATCABL | NMC Pro/DC Display and Keyboard Ribbon Cable Set | 128
74340-022000 | 31NMCDCCPU | NMC DC CPU Card, without SD Memory Card | 1881
74340-014650 | 31NMCSDCARD | NMC Pro/DC/Jr Pro SD Card | 52
74340-022300 | 31NMCDCBUS | NMC DC I/O Bus Card | 96
74340-022100 | 31NMCDCINP | NMC DC Input Card, 4 digital, 4 analog (Temp, 0-5v, 4-20mA user selectable) | 515
74340-022400 | 31NMCDCPOWER | NMC DC Power supply and charging regulator card | 291
00005-009500 |  | 9VDC Backup Battery | Call for Quote
74340-022200 | 31NMCLATCHOUT | NMC DC Latching Output Card, 8 outputs (limit 3 per NMC DC controller) | 537
74340-009100 | 31NMCCR | NMC Pro/DC Communication Card RS232 / RS232 | 1524
74340-009200 | 31NMC64CC | NMC Pro/DC Communication Card RS485 / RS232 | 539
74340-012800 | 31NMCPRO2RS485 | NMC Pro/DC Communication Card RS485 / RS485 | 554
74340-014500 | 31NMCPRODP | NMC Pro/DC/Jr Pro Data Plug (Gold) | 249
74340-014760 | 31NMCDCBOX | NMC DC Double Door Enclosure, includes box, metal door, metal back plate, and stickers | 635
74340-006650 | 31NMCJRDCLATCH | NMC DC/Jr Door Latch | 23
74340-023500 | 31SOLARPANEL | NMC DC Solar Panel Kit, includes 20VA solar panel, 12VDC 9AH SLA battery, mounting bracket | 1573
74340-022850 | 31BRKTNMCDC | NMC DC Pole mount bracket with battery holder | 363
EC/PH 4G
Item Number | Model Number | Description | Price Each
33000-003315 | 31ECPHKIT4G | EC & pH Kit, includes 4G Monitor (24VAC, wall mount), 1 EC sensor, 1 pH sensor, calibration fluid packets (5 each of pH 7.0, pH 4.0, EC 1.41), PVC unions | 2036
74340-003580 | 31ECPH4G24ACWL | EC & pH 4G Monitor for single EC & pH sensor, 24VAC, wall mount, requires EC & pH sensors | 974
74340-003581 | 31ECPH4GDL24ACPL | EC & pH 4G Monitor for single EC & pH sensor, 24VAC, panel mount, requires EC & pH sensors | 1124
74340-003582 | - | EC & pH 4G Monitor for dual EC & pH sensors, 24VAC, panel mount, requires 2 EC & 2 pH sensors | 1881
45000-006705 | 31ECSENSABB4G | EC & temperature sensor, JUMO 12mm, bare wire | 638
45000-006692 | 31PHSENS4GBNC | pH sensor, JUMO 12mm, glass, BNC connector | 345
33120-008500 | 31SNSUNION | EC/pH sensor union set, ¾" MIPT | 95
45000-006480 | 31ECCALIB | EC Calibration fluid, 20mL | 4.6
45000-006440 | 31PHBUFFER4.0 | pH Calibration fluid, 20mL, pH 4.0 | 4.6
45000-006460 | 31PHBUFFER7.0 | pH Calibration fluid, 20mL, pH 7.0 | 4.6
INPUTS/SENSORS
Item Number | Model Number | Description | Price Each
74340-004955 | 31NMCWEATHER | Weather Station for NMC Pro controller, includes solar radiation, wind speed, wind direction, temperature, humidity, and tipping rain bucket | 4677
74340-000002 | 31GHTRH | Greenhouse temperature and relative humidity kit, includes temperature sensor, relative humidity sensor, powered ventilation box | 1569
74340-004270 | 31GHT | Greenhouse temperature kit, includes temperature sensor and powered ventilation box | 891
74340-008200 | 31TEMP/RH | Temperature and relative humidity sensors with basic shield | 1535
74340-004300 | 31TEMP | Temperature sensor with basic shield | 286
74340-010400 | 31RS | Radiation shield for temperature and relative humidity sensor | 615
74340-010300 | 31CTS | Temperature sensor | 179
74340-010100 | 31CB | Climatic box, for housing temperature and relative humidity sensors | 903
74340-010200 | 31CCBF | Climatic box fan, for adding powered ventilation to climatic box | 191
00107-014020 | 31PT200-4-20MA | Pressure transducer, 200 psi, 4-20mA, 1/4 MIPT, M12 Male connector | 574
00107-014021 | 31PTCABLE2M | Pressure transducer, 2 m (6 ft), M12 Female connector | 33
70261-011000 | 36FM.75RG.1 | Fertilizer flow meter, ¾" BSP w/ NPT adapters, 0.1 USG/pulse | 504
OUTPUTS/CONTROLS
Item Number | Model Number | Description | Price Each
35500-001300 | 3135500-001300 | Aquative solenoid, 24VAC, with bracket | 104
35500-002000 | 3135500-002000 | Aquative solenoid, 12VDC latching, with bracket | 99
35500-002100 | 61AQTVDCL2 | Aquative solenoid (2), 12VDC latching, with bracket | 243
35500-002200 | 61AQTVDCL3 | Aquative solenoid (3), 12VDC latching, with bracket | 285
35500-002300 | 61AQTVDCL4 | Aquative solenoid (4), 12VDC latching, with bracket | 345
00107-005450 | 28RELAY12VDCL | Output relay DPDT, 12VDC latching, with base | 213
77100-012020 | 31NETACIDCON | Direct pump control box, single phase up to 20 Amp, includes Hand-Off-Auto selector switch, solid state relay | 745
NUF
Item Number | Model Number | Description | Price Each
70180-000100 | 31NUF8GPMUS | NUF 8 GPM US | 46987
70180-000101 | 31NUF20GPMUS | NUF 20 GPM US | 78842
72300-001410 | 31VDE63MM2INKIT | TRANS. KIT FOR MIX. VLV. 63 TO 2" GLUE | 109
72300-001250 | 31VDEVK21-63 | MIXING VALVE VDE VK21-63 24V90SEC 90DEG | 4730
NUF 8 GPM Replacement Parts
Item Number | Model Number | Description | Price Each
70180-000215 | 31NUFMEMBRANE | NUF SINGLE REPLACEMENT MEMBRANE | 51
70180-000120 | 31NUF0.75INCHVALVE | NUF Diaphragm valve 3/4" w/o solenoid | Call for Quote
70180-000125 | 31NUF1INCHVALVE | NUF DIAPHRAGM VALVE 1" W/O SOLENOID | 182
70180-000130 | 31NUFAIRVALVE | NUF AIR VALVE | 264
70180-000140 | 31NUF40MEMBRANES | NUF MODULE - 40 MEMBRANES | 0
70180-000235 |  | NUF REPLACEMENT DISCS 100 MICRON | 96
70180-000145 | 31NUF25MMPVC | NUF PVC PIPE 25 - BY METER | 22
70180-000150 | 31NUF32MMPVC | NUF PVC PIPE 32 - BY METER | 33
70180-000155 | 31NUF40MMPVC | NUF PVC PIPE 40 - BY METER | 41
70180-000160 | 31NUF25MMSVCKIT | NUF PVC SERVICE KIT 25 | 74
70180-000165 | 31NUF32MMSVCKIT | NUF PVC SERVICE KIT 32 | 92
70180-000170 | 31NUF40MMSVCKIT | NUF PVC SERVICE KIT 40 | 110
70180-000175 | 31NUFSOLENOIDSET | NUF SOLENOID SET | 1561
70180-000180 | 31NUFCVSLNDACCESS | NUF SOLENOID ACCESSORIES CONTROL VALVE | 320
70180-000185 | 31NUFPGSLNDACCESS | NUF SOLENOID ACCESSORIES PRESSURE GAUGE | 63
70180-000190 | 31NUFAIRCOMPRESS | NUF AIR COMPRESSOR | 718
70180-000228 |  | NUF PUMP 8GPM | 762
NUF 20 GPM Replacement Parts
Item Number | Model Number | Description | Price Each
70180-000215 | 31NUFMEMBRANE | NUF SINGLE REPLACEMENT MEMBRANE | 51
70180-000120 | 31NUF0.75INCHVALVE | NUF Diaphragm valve 3/4" w/o solenoid | Call for Quote
70180-000125 | 31NUF1INCHVALVE | NUF DIAPHRAGM VALVE 1" W/O SOLENOID | 182
70180-000130 | 31NUFAIRVALVE | NUF AIR VALVE | 264
70180-000140 | 31NUF40MEMBRANES | NUF MODULE - 40 MEMBRANES | 0
70180-000235 |  | NUF REPLACEMENT DISCS 100 MICRON | 96
70180-000145 | 31NUF25MMPVC | NUF PVC PIPE 25 - BY METER | 22
70180-000150 | 31NUF32MMPVC | NUF PVC PIPE 32 - BY METER | 33
70180-000155 | 31NUF40MMPVC | NUF PVC PIPE 40 - BY METER | 41
70180-000160 | 31NUF25MMSVCKIT | NUF PVC SERVICE KIT 25 | 74
70180-000165 | 31NUF32MMSVCKIT | NUF PVC SERVICE KIT 32 | 92
70180-000170 | 31NUF40MMSVCKIT | NUF PVC SERVICE KIT 40 | 110
70180-000175 | 31NUFSOLENOIDSET | NUF SOLENOID SET | 1561
70180-000180 | 31NUFCVSLNDACCESS | NUF SOLENOID ACCESSORIES CONTROL VALVE | 320
70180-000185 | 31NUFPGSLNDACCESS | NUF SOLENOID ACCESSORIES PRESSURE GAUGE | 63
70180-000190 | 31NUFAIRCOMPRESS | NUF AIR COMPRESSOR | 718
70180-000195 | 31NUF20GPMPUMP | NUF PUMP 20GPM | 3487
70180-000200 | 31NUF20GPMSEALKIT | NUF MECHANICAL SEAL KIT FOR PUMP 20GPM | 698
NUTRISOLVE DISSOLVING TANK AND VALVE BRIDGE
Item Number | Model Number | Description | Price Each
33800-000001 | 31NSOLVEVALBRIDGE | Nutrisolve Valve Bridge 60Hz 1600L ASTM | 7870
33800-001052 | 31NSOLVEDISOLVTANK | NTS Dissolving Tank and Accessories ASTM | 10851
NUTRISOLVE DISSOLVING TANK SPARE PARTS
Item Number | Model Number | Description | Price Each
77600-010350 | 31NSPOLYTANK1600L | Poly Tank, 1600 Liter with Legs, Drain and Level Indicator | 2961
45000-040201 | 31NSTANKBASKETSS | Stainless Steel basket for 1600 Liter Tank | 1971
33820-002100 | 31NSDISSOLVINGFLT | Dissolving Flute | 60
33820-002120 | 31NSEDUCTORSET | Eductor Set | 255
33220-006600 | 31NSLOWSWITCHASY | Low-level Switch Assembly | 116
33820-003110 | 31NSTANKLOUT1600L | Tank Outlet | 200
77600-012300 | 31NSTANKCOVER1600L | Cover for Poly Tank 1600 Liter with Door | 752
33820-003120 | 31NSFILLMANIFOLD | Filling Manifold | 83
33820-002110 | 31NSREAREDUCTMANIF | Rear Eductor Manifold | 727
NUTRISOLVE VALVE BRIDGE SPARE PARTS
Item Number | Model Number | Description | Price Each
77800-023260 | 31NSPUMPCDX200-206 | Valve Bridge Pump, Single Phase 220V | 1193
33820-001020 | 31NSVLVMANIFOLD | Manifold, Valve bridge | 225
33820-003140 | 31NSPMPOUTLT200-20 | Pump Outlet CDX 200/20 | 174
45000-040000 | 31NSFRAMEVLVBRDG | Aluminum Frame for Valve Bridge | 730
33820-003150 | 31NSPUMPINLET | Pump Inlet CDX 200/20 | 29
33820-003170 | 31NSFRESHINLET | Pump Fresh Water Inlet | 30
33820-003160 | 31NSSOLTANKOUTLET | Solution Tank Outlet | 26
70640-003210 | 31NSSCRNFILTER1.5 | Screen Filter, 1.5", 40 Mesh, Chemical-Resistant | 213
77120-003010 | 31NSSWB1X220X1.5KW | Nutrisolve Switchboard 1 x 220 v 1.5 Kw | 2309
77540-003350 | 31NSPRESSGAUGE | Nutrisolve Pressure gauge 250 glz 8 bar ¼" bsp | 23
COMMISSIONING FEES
Item Number | Model Number | Description | Price Each
79900-006100 | 31AIRTRAVEL | Air Travel, Round Trip | 1750
79900-006180 | 31VEHICLETRAVEL | Vehicle Travel / Hour | 155
79900-006160 | 31DAILYEXPENSES | Daily Expenses | 725
79900-006120 | 31ONSITESERVICE | Commissioning, Service, Training Onsite / Day / Technician | 1700
79900-006140 | 31HOURLYSERVICE | Commissioning, Service, Training / Hour / Technician, 1-hour increments | 220
79900-006150 | 31PHONESERVICE | Remote support, phone or via remote web meeting | 188
79900-006125 | 31ONSITERETROFIT | Installation, customization / Hour / Technician, 1-hour increments | 328