## Digital Farming Parts List
Digital Farming Project Parts List
Date:
DRM Name:
Dealer Name:
Project Name: |  |  |  | Total: | 0
GrowSphere ONE - Monitoring
Item Number | Model Number | Description | Price Each | Qty | Total
74715-000014 | 31GSONEREMOTEPANEL | GROWSPHERE ONE 3 Analog Inputs, 2 Digital Inputs, and 1 Serial (RS232) Inputs. Remote Solar panel and antenna with 15 foot cable. | 1000 | 0 | 0
74715-000013 | 31GSONESOLARPANEL | GROWSPHERE ONE 3 Analog Inputs, 2 Digital Inputs, and 1 Serial (RS232) Inputs. Integrated Solar panel and antenna | 975 | 0 | 0
GrowSphere MAX - Control and Monitoring
Item Number | Model Number | Description | Price Each | Qty | Total
74702-000080 | 31GSMAX6DO12DICNFG | GrowSphere MAX Controller: includes touch screen display, 110VAC power supply, CPU PM5052 Module, 6 expansion slots, Double Door enclosure. CPU PM5052 Module includes, 6 x Digital Outputs, 12 Digital Inputs, 1 x RS232 module and 1 x RS485 module. | 7227 | 0 | 0
GrowSphere MAX Expansion Modules
Item Number | Model Number | Description | Price Each | Qty | Total
74743-000098 | 31GSMAXDO573-16OUT | GrowSphere DO573 Output Module: includes 16 Normally Open 24VAC digital outputs. 2.0A per Output. 2 x 8 Output Isolation Groups, 10.0A per group. Shared common. Visual LED operation indicator. | 378 | 0 | 0
74743-000099 | 31GSMAXDO572-8OUT | GrowSphere DO572 Dosing Module: includes 8 Normally Open 24VAC TRIAC digital outputs. 2.0A per Output. 2.0A fuse per Output. 1 x 8 Output Isolation Groups, 10.0A per group. Visual LED operation indicator. | 378 | 0 | 0
74743-000100 | 31GSMAXAI561-4AI | GrowSphere AI561 Analog Input Module: includes 4 Analog Inputs, 24VDC Feed Voltage, 0-20mA, 4-20mA, 12 Bit, 250Ohm resistance. | 378 | 0 | 0
74743-000101 | 31GSMAXDI562-16DI | GrowSphere DI562 Digital Input Module: includes 16 Digital Inputs, 2 x 8 Input Isolation Groups. Shared common. | 378 | 0 | 0
GrowSphere Weather Station (DAVIS)
Item Number | Model Number | Description | Price Each | Qty | Total
74730-000050 | 31GSWSDIRECTWIRE | Davis Vantage Pro2™ Weather Station - Includes all required accessories to connect the Weather Station via RS232 to a compatible GrowSphere OS Device | 2077 | 0 | 0
GrowSphere Sensor Options
Item Number | Model Number | Description | Price Each | Qty | Total
70261-011000 | 36FM.75RG.1 | Fertilizer flow meter, ¾" Polyproylene, 0.1 USG/pulse | 504 | 0 | 0
70261-011030 | 36FM.75RG1 | Fertilizer flow meter, ¾" Polyproylene, 1 USG/pulse | 504 | 0 | 0
70261-011300 | 36FM1RG1 | Fertilizer flow meter, 1" PVC, 1 USG/pulse | 1281 | 0 | 0
00107-014020 | 31PT200-4-20MA | Pressure transducer, 200 psi, 4-20 mA, 1/4 MIPT, M12 Male connector | 574 | 0 | 0
00107-014021 | 31PTCABLE2M | Pressure transducer cable, 6 ft, M12 Female connector | 33 | 0 | 0
74730-000001 | 31NBIRROMETERMS30 | Irrometer tensiometer, most soils, 30 cm (12 in) | 392 | 0 | 0
74730-000002 | 31NBIRROMETERMS60 | Irrometer tensiometer, most soils, 60 cm (24 in) | 407 | 0 | 0
74730-000003 | 31NBIRROMETERMS90 | Irrometer tensiometer, most soils, 90 cm (36 in) | 425 | 0 | 0
74730-000004 | 31NBIRROMETERSS30 | Irrometer tensiometer, sandy soils, 30 cm (12 in) | 392 | 0 | 0
74730-000005 | 31NBIRROMETERSS60 | Irrometer tensiometer, sandy soils, 60 cm (24 in) | 407 | 0 | 0
74730-000006 | 31NBIRROMETERSS90 | Irrometer tensiometer, sandy soils, 90 cm (36 in) | 425 | 0 | 0
74730-000010 | 31NBDTSM150T | Delta-T SM150T Kit: includes sensor & cable | 454 | 0 | 0
74740-000300 | 31NBDTSM150TEXT | Delta-T SM150T extension cable, 25 m (82 ft) | 271 | 0 | 0
GrowSphere Profile Soil Moisture Probe
Item Number | Model Number | Description | Price Each | Qty | Total
74730-000007 | 31NETACAPSMP8INCH | 8 INCH NETACAP SOIL PROBE | Call for Price | 0 | 0
74730-000013 | 31NETACAPSMP12INCH | 12 INCH NETACAP SOIL PROBE | 629 | 0 | 0
74730-000008 | 31NETACAPSMP16INCH | 16 INCH NETACAP SOIL PROBE | Call for Price | 0 | 0
74730-000009 | 31NETACAPSMP24INCH | 24 INCH NETACAP SOIL PROBE | 731 | 0 | 0
74730-000011 | 31NETACAPSMP32INCH | 32 INCH NETACAP SOIL PROBE | 731 | 0 | 0
74730-000021 | 31NETACAPSMP47INCH | 47 INCH NETACAP SOIL PROBE | 848 | 0 | 0
74730-000022 | 31NETACAPSMP59INCH | 59 INCH NETACAP SOIL PROBE | Call for Price | 0 | 0
74730-000023 | 31NETACAPSMP71INCH | 71 INCH NETACAP SOIL PROBE | Call for Price | 0 | 0
RadioNet - Host and Base
Item Number | Model Number | Description | Price Each | Qty | Total
74360-007600 | 31RNHBKIT | RadioNet Host Kit, for use with GrowSphere MAX controller, includes host, base, battery, battery charger, antenna with 33' cable, PoleNet programming cable, screwdriver, mounting hardware | 8996 | 0 | 0
74330-012000 | 31RNHOST | RadioNet Host, for use with NMC Pro/DC controllers | 3530 | 0 | 0
74330-012100 | 31RNBASE | RadioNet Base Radio, 450 to 470 MHz, 100mW | 2099 | 0 | 0
74330-003010 | 31RN3BATCHARGER | RadioNet Host Battery Charger, 110VAC to 12VDC | 235 | 0 | 0
00107-008101 | 31RNBATT12VDC | Rechargeable Battery, 12VDC 24AH SLA | 360 | 0 | 0
00035-014780 | 31POLENETCABLE | Polenet USB RJ45 Programming Cable | 184 | 0 | 0
RadioNet - 2X2 RTU (Functions as Repeater)
Item Number | Model Number | Description | Price Each | Qty | Total
74330-012195 | 31RNRTU2X2 | RadioNet 2x2 RTU, 2 latching outputs, 2 digital inputs, not expandable, can act as a repeater | 993 | 0 | 0
74330-005760 | 31RNSOLARPAN3W | RadioNet Solar Panel Kit, 9V 3W, includes solar panel, mounting bracket, charging regulator, requires rechargeable battery | 369 | 0 | 0
74330-003025 | 31RNRECHARBATT6V | RadioNet RTU Rechargeable Battery, 6VDC SLA, requires solar panel kit | 94 | 0 | 0
74330-002960 | 31RNSOLCHGREG | RadioNet solar panel charging regulator | 174 | 0 | 0
74330-010200 | 31RTULITHBATT | RadioNet RTU Lithium Metal Battery pack, 7.2VDC 8.5 AH, non-rechargeable | 125 | 0 | 0
74330-005020 | 31RNANTG10FT | Antenna with 10' cable | 254 | 0 | 0
74330-005060 | 31RNANG19FT | Antenna with 19' cable | 298 | 0 | 0
74330-005120 | 31RNANTG33FT | Antenna with 33' cable | 338 | 0 | 0
RadioNet - Expandable RTU (Functions as Repeater)
Item Number | Model Number | Description | Price Each | Qty | Total
74330-012200 | 31RNRTU | RadioNet Expandable RTU, 1 latching output, 2 digital inputs, 4 expansion slots, expandable to 9 latching outputs and 10 digital inputs, can act as a repeater | 1521 | 0 | 0
74330-013140 | 31RNEXPCARD | RadioNet RTU Expansion Card, 2 latching outputs, 2 digital inputs, limit 4 per expandable RTU | 171 | 0 | 0
74330-005760 | 31RNSOLARPAN3W | RadioNet Solar Panel Kit, 9V 3W, includes solar panel, mounting bracket, charging regulator, requires rechargeable battery | 369 | 0 | 0
74330-003025 | 31RNRECHARBATT6V | RadioNet RTU Rechargeable Battery, 6VDC SLA, requires solar panel kit | 94 | 0 | 0
74330-002960 | 31RNSOLCHGREG | RadioNet solar panel charging regulator | 174 | 0 | 0
74330-010200 | 31RTULITHBATT | RadioNet RTU Lithium Metal Battery pack, 7.2VDC 8.5 AH, non-rechargeable | 125 | 0 | 0
74330-005020 | 31RNANTG10FT | Antenna with 10' cable | 254 | 0 | 0
74330-005060 | 31RNANG19FT | Antenna with 19' cable | 298 | 0 | 0
74330-005120 | 31RNANTG33FT | Antenna with 33' cable | 338 | 0 | 0
RadioNet - DCP RTU (Control and Monitoring, Not a Repeater )
Item Number | Model Number | Description | Price Each | Qty | Total
74330-012230 | 31RNDCP | R-Net DCP RTU 1XAI 3XDI Exclude Cap Card | 1355 | 0 | 0
74330-012240 | 31RNRTUCAP | R-Net DCP Capacitor Card | 333 | 0 | 0
74370-003300 | 31RNDCPAIEXP | R-Net DCP Expansion Card 2 X AI | 376 | 0 | 0
00035-013150 | 31RNSERIALEXPCARD | R-Net Serial Expansion Card RS232/485/SDI12 | 209 | 0 | 0
74330-012250 | 31RNDFMEXPCARD | NetaCap Probe I/F Kit Cable and 3.5V Reg | 137 | 0 | 0
74330-005760 | 31RNSOLARPAN3W | RadioNet Solar Panel Kit, 9V 3W, includes solar panel, mounting bracket, charging regulator, requires rechargeable battery | 369 | 0 | 0
74330-003025 | 31RNRECHARBATT6V | RadioNet RTU Rechargeable Battery, 6VDC SLA, requires solar panel kit | 94 | 0 | 0
74330-002960 | 31RNSOLCHGREG | RadioNet solar panel charging regulator | 174 | 0 | 0
74330-010200 | 31RTULITHBATT | RadioNet RTU Lithium Metal Battery pack, 7.2VDC 8.5 AH, non-rechargeable | 125 | 0 | 0
74330-005020 | 31RNANTG10FT | Antenna with 10' cable | 254 | 0 | 0
74330-005060 | 31RNANG19FT | Antenna with 19' cable | 298 | 0 | 0
74330-005120 | 31RNANTG33FT | Antenna with 33' cable | 338 | 0 | 0
SingleNet Host
Item Number | Model Number | Description | Price Each | Qty | Total
00035-001760 | 31SCSCWOPW | SingleNet Host, for use with GrowSphere MAX controller, requires 12VDC 2A power supply | 3208 | 0 | 0
77100-050320 | 31DCPOWER12V2A | SingleNet Host Power Supply, 115VAC to 12VDC 2A, Wall Plug, Screw Terminal, No Wire | 80 | 0 | 0
00035-008350 | 31SCRS | SingleNet Host card, for use with GrowSphere MAX controller, requires enclosure and 12VDC 2A power supply | 2799 | 0 | 0
00035-014780 | 31POLENETCABLE | PoleNet USB RJ45 Programming Cable | 184 | 0 | 0
00035-008300 | 31SCLPM | SingleNet Host Lightning Suppression Module | 1279 | 0 | 0
SingleNet 2-Wire cable
Item Number | Model Number | Description | Price Each | Qty | Total
00107-007980 | 31SC0016C-1000 | SingleNet RTU Cable, 1000' spool, ½" PE Conduit | 2758 | 0 | 0
00107-007990 | 31SC0016C-2500 | SingleNet RTU Cable, 2500' spool, ½" PE Conduit | 6887 | 0 | 0
00107-007960 | 31SC0016CLTC | SingleNet RTU Cable Liquid Tight Connector | 23 | 0 | 0
SingleNet RTU
Item Number | Model Number | Description | Price Each | Qty | Total
74340-014900 | 31SCRTU2 | SingleNet RTU, 2 DC latching outputs, 2 digital inputs | 1028 | 0 | 0
74340-015000 | 31SCRTU4 | SingleNet RTU, 4 DC latching outputs, 4 digital inputs | 1477 | 0 | 0
74340-015400 | 31SCRTU2PL | SingleNet RTU with Lightning Protection, 2 DC latching outputs, 2 digital inputs | 1360 | 0 | 0
74340-015500 | 31SCRTU4PL | SingleNet RTU with Lightning Protection, 4 DC latching outputs, 2 digital inputs | 1732 | 0 | 0
SingleNet RTU Accessories
Item Number | Model Number | Description | Price Each | Qty | Total
00035-008150 | 31SRTU2LAT2D | SingleNet RTU card, 2 DC latching outputs, 2 digital inputs, requires enclosure | 729 | 0 | 0
00035-008200 | 31SCRTULP | SingleNet RTU Lightning Protection card, no enclosure | 370 | 0 | 0
74340-016000 | 31SCEMPTYBOX | SingleNet RTU box, metal backplate, empty | 191 | 0 | 0
35500-003260 | 31SCRTUBRKT1 | SingleNet RTU bracket (not pictured) | 49 | 0 | 0
NetRTU Replacement Parts
Item Number | Model Number | Description | Price Each | Qty | Total
74710-000003 | 31NBRTU2DO | NetBeat RTU 2DO: 915 MHz, 2 digital inputs, 3 analog inputs, 2 digital outputs, includes wall mount bracket | 525 | 0 | 0
74710-000012 | 31NBRTU8DO | NetBeat RTU 8DO: 915 MHz, 2 digital inputs, 3 analog inputs, 8 digital outputs, includes wall mount bracket | 840 | 0 | 0
74710-000009 | 31NBRTU16DO | NetBeat RTU 16DO: 915 MHz, 2 digital inputs, 3 analog inputs, 16 digital outputs, includes wall mount bracket | 1260 | 0 | 0
74740-000350 | 31NBRTUSOLAR | NetBeat RTU Solar Panel Kit: includes solar panel & mounting bracket | 233 | 0 | 0
74740-000150 | 31NBANTKIT5M | NetBeat LoRa Remote Antenna Kit 5 m: includes antenna, mounting bracket, 5 m (16 ft) coax cable | 237 | 0 | 0
74740-000135 | 31NBANTKIT10M | NetBeat LoRa Remote Antenna Kit 10 m: includes antenna, mounting bracket, 10 m (33 ft) cable | 365 | 0 | 0
74740-000028 | 31NBLORAHIGAINKIT | NETMCU/RTU 8DBI HIGH GAIN ANTENNA KIT | 1200 | 0 | 0
74740-000110 | 31NBMCULORAANT | LoRa Antenna 915MHz | 53 | 0 | 0
74740-000111 | 31NBLORACABLE10M | LoRa Antenna Cable 10 m (33 ft) (not pictured) | 284 | 0 | 0
74740-000114 | 31NBLORACABLE5M | LoRa Antenna Cable 5 m (16 ft) (not pictured) | 178 | 0 | 0
74740-000120 | 31NBANTHOLD | Remote Antenna Bracket (not pictured) | 4.7 | 0 | 0
EC/pH Monitoring
Item Number | Model Number | Description | Price Each | Qty | Total
74360-007901 |  | EC/pH transmitter, panel mount/wall mount AWT420 | 2423 | 0 | 0
74360-007970 |  | EC replacement module for AWT420 | Call for Price | 0 | 0
74360-007971 |  | pH replacement module for AWT420 | Call for Price | 0 | 0
45000-006692 | 31PHSENS4GBNC | pH sensor, JUMO 12mm, glass, BNC connector | 345 | 0 | 0
45000-006705 | 31ECSENSABB4G | EC & temperature sensor, JUMO 12mm, bare wire | 638 | 0 | 0
FERTIONE PLUS
Item Number | Model Number | Description | Price Each | Qty | Total
33250-000600 | 31FTO+50PSI | FertiOne Plus Low Pressure: suitable for mainlines with operating pressure between 29 and 58 psi; includes 2 fertilizer/diluted acid channels at 158 GPH, 440VAC three phase booster pump (MTX5-2 60Hz 0.95 kW 1.28 HP) electrical control box with manual starter, contactor, Manual-Off-Auto selector switch, SCH 80 NPT PVC fittings | 5258 | 0 | 0
33250-000601 | 31FTO+80PSI | FertiOne Plus High Pressure: suitable for mainlines with operating pressure between 58 and 87 psi; includes 2 fertilizer/diluted acid channels at 158 GPH, 440VAC three phase booster pump (MTX5-3 60Hz 1.35 kW 1.81 HP) electrical control box with manual starter, contactor, Manual-Off-Auto selector switch, SCH 80 NPT PVC fittings | 5337 | 0 | 0
33250-000603 | 31FTO+50PSI1PH | FertiOne Plus Low Pressure Single Phase: suitable for mainlines with operating pressure between 29 and 58 psi; includes 2 fertilizer/diluted acid channels at 158 GPH, 220VAC single phase booster pump (MTX5-2 60Hz 0.9 kW 1.2 HP), electrical control box with manual starter, contactor, Manual-Off-Auto selector switch, SCH 80 NPT PVC fittings | 5224 | 0 | 0
33250-000602 | 31FTO+80PSI1PH | FertiOne Plus High Pressure Single Phase: suitable for mainlines with operating pressure between 58 and 87 psi; includes 2 fertilizer/diluted acid channels at 158 GPH, 220VAC single phase booster pump (MTX5-3 60Hz 1.3 kW 1.8 HP), electrical control box with manual starter, contactor, Manual-Off-Auto selector switch, SCH 80 NPT PVC fittings | 5337 | 0 | 0
FERTIONE PLUS SPARE PARTS
Item Number | Model Number | Description | Price Each | Qty | Total
45000-040720 | - | FTOUS Aluminum Frame | 416 | 0 | 0
77800-025525 | 31FTO+PUMPMXT5-2 | Pump MTX 5-2T6 3x220/440 60 Hz | 895 | 0 | 0
77800-025515 | 31FTO+PUMPMXT5-3 | Pump MTX 5-3T6 3x220/440 60 Hz | 1028 | 0 | 0
77800-025520 | 31FKPUMPE52T6 | Pump MTX 5-2T6/0.9m 1x220 6.3A 60 Hz | 986 | 0 | 0
77800-023250 | 31FKPUMPE53T6 | Pump MTX 5-3T6/1.3M 1x220 7.7A 60Hz | 1183 | 0 | 0
77210-003350 | - | FTOUS Switchbox MTX 5-2T6 60 Hz | Call for Price | 0 | 0
77210-003360 | - | FTOUS Switchbox MTX 5-3T6 60 Hz | Call for Price | 0 | 0
77210-003370 | - | FTOUS Switchbox MTX 1x220V 6.3-10A 0.9-1.3KW | Call for Price | 0 | 0
77120-003350 | - | Overload 1.6-2.5 A for FertiOne, GV2ME01, MTX 5-2 3x440 2.2A | 134 | 0 | 0
77120-003360 | - | Overload 2.5-4 A for FertiOne, GV2ME08, MTX 5-2 3x440 2.9A | 134 | 0 | 0
77100-011935 | - | Overload 4-6.3 A for FertiOne, GV2ME10, MTX 5-2 3x220 4A, MTX 5-3 3x220 5.3A | 134 | 0 | 0
33241-000699 | - | FTOUS Inlet to Dosing Booster Set | 415 | 0 | 0
33241-000704 | - | FTOUS Dosing Booster Outlet | 170 | 0 | 0
33241-000698 | - | FTOUS Suction Manifold Set | 868 | 0 | 0
33241-000705 | 31FTO+DOSCHNVERT | FTOUS Assembled Dosing Channel 160 GPH SCH80 | 746 | 0 | 0
33241-000697 | - | FTOUS Inlet to Venturi Set | 501 | 0 | 0
77540-003400 | - | Pressure Gauge 250 GLZ 145 psi 1/4” BSP | 24 | 0 | 0
70561-003730 | 65ARIS075-PP | Air Valve 3/4” DG-010 NPT | 178 | 0 | 0
77540-008470 | 31FTO+DOSVLVS12 | Dosing Valve FIP S12 24VAC 50/60H Z 3/8” | 328 | 0 | 0
76420-007955 | 31FTO+CHKVLV | Line Check Valve 3/4” *3/4” EPDM | 68 | 0 | 0
76400-011376 | 31FTO+NEEDLEVLV | Needle Valve 1/2” High Flow | 43 | 0 | 0
77540-007590 | 31FTO+ROTOMETER | STUBBE Rotometer DFM 185 16-160 GPH ASTM | 155 | 0 | 0
FERTIKIT 5G with GrowSphere MAX
Item Number | Model Number | Description | List Price | Qty | Total
74722-000082 | 31FK5GSP2F351AC13GSMAX | FertiKit 5G SP NPT Low Flow, includes 4 dosing channel slots, 2 Fertilizer Dosing Channels at 35 GPH, 1 Acid Dosing Channel at 13 GPH, and 1 expansion slot for dosing channel slot (13 GPH or 35 GPH only), 220VAC single phase booster pump (MTX5-3 60Hz), electrical control box with disconnect, pump breaker, and Hand-Off-Auto selector switch, SCH 80 NPT PVC fittings. EC/pH Monitoring Kit, includes AWT420 Monitor (24VAC, wall mount), 1 EC sensor, 1 pH sensor, calibration fluid packets (5 each of pH 7.0, pH 4.0, EC 1.41), PVC unions. GrowSphere MAX Irrigation Controller, 115VAC power supply, 100VA 24VAC transformer, includes PM5052 Main Module with 12 Digital Inputs (1 used by FertiKit) and 6x24VAC outputs (1 used by FertiKit), DO572 Dosing Module with 8x24VAC TRIAC outputs (4 used by the Fertkit), AI561 Analog Input Module with 4x4-20mA inputs (2 used by EC/pH Monitoring Kit), HMI Screen, Cellular Router with Global FloLive SIM card, 6 expansion slots, double door enclosure. | 24079 | 0 | 0
74722-000078 | 31FK5GSP2F901AC13GSMAX | FertiKit 5G SP NPT High Flow, includes 4 dosing channel slots, 2 Fertilizer Dosing Channels at 90 GPH, 1 Acid Dosing Channel at 13 GPH, and 1 expansion slot for dosing channel slot (13, 35, or 90 GPH dosing channel), 440VAC three phase booster pump (CM15-2), electrical control box with disconnect, pump breaker, and Hand-Off-Auto selector switch, SCH 80 NPT PVC fittings. EC/pH Monitoring Kit, includes AWT420 Monitor (24VAC, wall mount), 1 EC sensor, 1 pH sensor, calibration fluid packets (5 each of pH 7.0, pH 4.0, EC 1.41), PVC unions. GrowSphere MAX Irrigation Controller, 115VAC power supply, 100VA 24VAC transformer, includes PM5052 Main Module with 12 Digital Inputs (1 used by FertiKit) and 6x24VAC outputs (1 used by FertiKit), DO572 Dosing Module with 8x24VAC TRIAC outputs (4 used by the Fertkit), AI561 Analog Input Module with 4x4-20mA inputs (2 used by EC/pH Monitoring Kit), HMI Screen, Cellular Router with Global FloLive SIM card, 6 expansion slots, double door enclosure. | 25440 | 0 | 0
FERTIKIT 5G SP NPT EXPANSION OPTIONS
Item Number | Model Number | Description | Price Each | Qty | Total
33241-009210 | 31FKNPT13GPHCHN | FertiKit 5G SP NPT Acid Dosing Channel 13 GPH, complete, Baccara Solenoid, SCH80 | 1216 | 0 | 0
33241-009200 | 31FKNPT35GPHCHN | FertiKit 5G SP NPT Fertilizer Dosing Channel 35 GPH, complete, FIP S12 Solenoid, SCH80 | 1218 | 0 | 0
33241-009220 | 31FKNPT90GPHCHN | FertiKit 5G SP NPT Fertilizer Dosing Channel 90 GPH, complete, FIP S12 Solenoid, SCH80 | 1368 | 0 | 0
FertiKit 5G SP NPT SPARE PARTS
Item Number | Model Number | Description | Price Each | Qty | Total
33241-009040 | 31FKNPTINMTX53 | FertiKit 5G SP NPT Inlet to MTX5-3 60Hz pump, SCH80 | 386 | 0 | 0
33241-009030 | 31FKNPTINCM152 | FertiKit 5G SP NPT Inlet to CM15-2 60Hz pump, SCH80 | 401 | 0 | 0
33241-009060 | 31FKNPTOUTMTX53 | FertiKit 5G SP NPT Outlet from MTX5-3 60Hz pump, SCH80 | 355 | 0 | 0
33241-009050 | 31FKNPTOUTCM152 | FertiKit 5G SP NPT Outlet from CM15-2 60Hz pump, SCH80 | 386 | 0 | 0
33241-009080 | 31FKNPTUPPERMAN | FertiKit 5G SP NPT Upper manifold, SCH80 | 708 | 0 | 0
33241-000002 | 31FKNPTVENTOUT | FertiKit 5G SP NPT Venturi outlet, 1" MIPT SCH80 | 160 | 0 | 0
33241-009110 | 31FK3SNPTVENT13GPH | FertiKit 5G SP NPT Venturi, PVDF (Viton), 13 GPH, SCH80 | 258 | 0 | 0
33241-009100 | 31FK3SNPTVENT40GPH | FertiKit 5G SP NPT Venturi, polypropylene, 40 GPH, SCH80 | 180 | 0 | 0
33241-009090 | 31FK3SNPTVENT90GPH | FertiKit 5G SP NPT Venturi, polypropylene, 90 GPH, SCH80 | 255 | 0 | 0
33241-009210 | 31FKNPT13GPHCHN | FertiKit 5G SP NPT Acid dosing channel 13 GPH, complete, Baccara solenoid, SCH80 | 1216 | 0 | 0
33241-009200 | 31FKNPT35GPHCHN | FertiKit 5G SP NPT Fertilizer dosing channel 35 GPH, complete, FIP S12 solenoid, SCH80 | 1218 | 0 | 0
| 31FK3SNPTVERT40GPH | FertiKit 5G SP NPT Fertilizer dosing channel, Vertical Part, 4-40 GPH, SCH80 | 267 | 0 | 0
| 31FK3SNPTHRZNFS12 | FertiKit 5G SP NPT Fertilizer dosing channel, Horizontal Part FIP S12 solenoid, SCH80 | 468 | 0 | 0
33241-009220 | 31FKNPT90GPHCHN | FertiKit 5G SP NPT Fertilizer dosing channel, complete, FIP S12 solenoid, SCH80 | 1368 | 0 | 0
| 31FK3SNPTVERT90GPH | FertiKit 5G SP NPT Fertilizer dosing channel, Vertical Part, 10-90 GPH, SCH80 | 263 | 0 | 0
| 31FK3SNPTHRZNFS12 | FertiKit 5G SP NPT Fertilizer dosing channel, Horizontal Part FIP S12 solenoid, SCH80 | 468 | 0 | 0
76400-011375 | 31FKNDLEVLVORNG | FertiKit 5G SP NPT Sampling valve | 43 | 0 | 0
70561-003730 | 65ARIS075-PP | Continuous air vent, ¾" MIPT (DG-010) | 178 | 0 | 0
77800-023250 | 31FKPUMPE53T6 | MTX5-3 60Hz 220VAC 7.7A Single phase pump, 1.3kW | 1183 | 0 | 0
77800-002996 | 31FKPUMPCM15-2 | CM15-2 60Hz 220VAC 14.8A / 440VAC 7.2A Three phase pump, 4kW | 2775 | 0 | 0
45000-008759 | 31FK3ALMFRMPUMP | Aluminum frame set for pump | 181 | 0 | 0
- | - | Aluminum frame (not available as a spare part) | 0 | 0 | 0
33220-001300 | 31FKNPTSWBDMTRX | Pump switchboard for MTX5-3 | 1886 | 0 | 0
77100-013640 | 31FKLUCBC12B | Pump switchboard contactor for MTX5-3 | 410 | 0 | 0
33220-001450 | 31FKNPTSWBDCM15 | Pump switchboard for CM15-2 | 1759 | 0 | 0
77100-013620 | 31FKLUCBC18B | Pump switchboard contactor for CM15-2 | 371 | 0 | 0
74360-007901 |  | EC/pH transmitter, panel mount/wall mount AWT420 | 2423 | 0 | 0
33240-000026 |  | Aluminum frame for Grow Sphere Max controller with-Front plate | Call for Price | 0 | 0
33240-000028 |  | EC/pH transmitter mounting KIT | Call for Price | 0 | 0
77400-027100 | 31PLUG.75 | Plug, ¾" MIPT SCH80 | 4.4 | 0 | 0
77540-003400 | 31FKPRESGAUGE145P | Pressure gauge, 145 psi (10 bar), ¼" BSP male | 24 | 0 | 0
45000-006692 | 31PHSENS4GBNC | pH sensor, JUMO 12mm, glass, BNC connector | 345 | 0 | 0
45000-006705 | 31ECSENSABB4G | EC & temperature sensor, JUMO 12mm, bare wire | 638 | 0 | 0
33120-008500 | 31SNSUNION | EC/pH sensor union set, ¾" MIPT | 95 | 0 | 0
77800-002180 | 31FKPRESSWITCH | Pressure switch, 14 to 45 psi (1 to 3 bar), ¼" BSP male | 230 | 0 | 0
77800-000019 | 31FKEMTXSEALKIT | Ebara Matrix 5 Seal Kit | 110 | 0 | 0
77800-025566 | 31FKEMTXSCREWKIT | Ebara Matrix 5 Drain Tank Screw Kit | 34 | 0 | 0
FERTIKIT 3G SP METRIC SPARE PARTS
Item Number | Model Number | Description | Price Each | Qty | Total
33240-025000 | - | FertiKit 3G SP Inlet | 230 | 0 | 0
33240-005670 | 31FKPUMPEOUTKIT | Pump inlet & outlet for MTX5-3 | 146 | 0 | 0
33240-002666 | 31FK3BPADP2 | Pump inlet for CM15-2 | 73 | 0 | 0
33240-005670 | 31FKPUMPEOUTKIT | Pump inlet & outlet for MTX5-3 | 146 | 0 | 0
33240-000018 | 31FK3BPACM15-2OUT | Pump outlet for CM15-2 | 57 | 0 | 0
77300-025045 | 31FK3CHCKVLV50 | FertiKit 3G check valve, 50mm | 99 | 0 | 0
33240-002100 | 31FKIT3GMANIF | FertiKit 3G SP Upper manifold | 380 | 0 | 0
33240-002251 | 31FK3PVCRED50-05 | Reducer, DN50 x 1/2" | 50 | 0 | 0
33220-002110 | 31FK3GSPLOWERMANIF | FertiKit 3G SP Lower manifold (with separation discs) | 457 | 0 | 0
33240-002252 | 31FK3PVCRED50-75 | Reducer, DN50 x 3/4" | 50 | 0 | 0
33240-004100 | 31FK3ELBOW | Elbow for gauge | 30 | 0 | 0
33240-003200 | 31FK3SVENT13GPH | Venturi for Concentrated Acid, 13 GPH | 280 | 0 | 0
33240-002300 | 31FK3SVENT35GPH | Venturi for Fertilizer, 35 GPH | 131 | 0 | 0
33240-002320 | 31FK3SVENT65GPH | Venturi for Fertilizer, 95 GPH | 321 | 0 | 0
33230-002000 | 31FK3GDCH13GPHAB | FertiKit 3G Acid Channel 13 GPH Complete (Baccara Solenoid) | 1000 | 0 | 0
33230-001550 | 31FK3GDCH40GPHF | FertiKit 3G Dosing Channel 35 GPH Complete (FIP S12 Solenoid) | 1044 | 0 | 0
33230-001670 | 31FK3GDCH95GPHF | FertiKit 3G Dosing Channel 95 GPH Complete (FIP S12 Solenoid) | 1170 | 0 | 0
33240-006010 | 31FK3GDCH95GPHVNCV | NFXSP-Dosing Channel- 400L No Check Valve | 761 | 0 | 0
33230-004150 | 31BURKETKITMTRC | FertiKit 3G SP Acid dosing channel, horizontal part, Burkert solenoid, metric | 1843 | 0 | 0
76400-011375 | 31FKNDLEVLVORNG | FertiKit 3G SP NPT Sampling valve | 43 | 0 | 0
70561-003730 | 65ARIS075-PP | Continuous air vent, 3/4" MIPT (DG-010) | 178 | 0 | 0
77800-023250 | 31FKPUMPE53T6 | MTX5-3 60Hz 220VAC 7.7A Single phase pump, 1.3kW | 1183 | 0 | 0
77800-002996 | 31FKPUMPCM15-2 | CM15-2 60Hz 220VAC 14.8A / 440VAC 7.2A Three phase pump, 4kW | 2775 | 0 | 0
45000-008759 | 31FK3ALMFRMPUMP | Aluminum frame set for pump | 181 | 0 | 0
- | - | Aluminum frame (not available as a spare part) | 0 | 0 | 0
33220-001300 | 31FKNPTSWBDMTRX | Pump switchboard for MTX5-3 | 1886 | 0 | 0
77100-013640 | 31FKLUCBC12B | Pump switchboard contactor for MTX5-3 | 410 | 0 | 0
33220-001450 | 31FKNPTSWBDCM15 | Pump switchboard for CM15-2 | 1759 | 0 | 0
77100-013620 | 31FKLUCBC18B | Pump switchboard contactor for CM15-2 | 371 | 0 | 0
74340-003580 | 31ECPH4G24ACWL | EC/pH 4G Monitor, 24vAC, Wall Mount, requires EC and pH sensor | 974 | 0 | 0
45000-008757 | 31FK3ALMFRMNMCPRO | Aluminum frame set for NMC Pro controller | 388 | 0 | 0
45000-008758 | 31FK3ALMFRMNMCJR | Aluminum frame set for NMC Jr Pro controller | 388 | 0 | 0
77300-016010 | 31PLUGDN16 | Plug, DN16 (1/2") BSP | 2.1 | 0 | 0
00110-001810 | 6809020-160 | Pressure gauge, 1/4" MIPT, 0-160 psi | 91 | 0 | 0
45000-006701 | 31PHSENSABB | pH sensor, JUMO 12mm, glass, bare wire | 456 | 0 | 0
45000-006705 | 31ECSENSABB4G | EC & temperature sensor, JUMO 12mm, bare wire | 638 | 0 | 0
33120-008500 | 31SNSUNION | EC/pH sensor union set, 3/4" BSP | 95 | 0 | 0
77800-002180 | 31FKPRESSWITCH | Pressure switch, 14 to 45 psi (1 to 3 bar), 1/4" BSP male | 230 | 0 | 0
77400-027100 | 31PLUGDN8 | Plug, DN8 (1/4") BSP | 4.4 | 0 | 0
NETAFLEX 3G
Item Number | Model Number | Description | Price Each | Qty | Total
33400-000012 | 31NF6F150CM15-2 | NetaFlex 3G: High Flow (up to 80 GPM): includes 6 fertilizer dosing channels at 150 l/h (35 GPH), can be used for diluted acid (see manual for limitations), 220VAC three phase booster pump (CM15-2), electrical control box with disconnect, pump breaker,and Hand-Off-Auto selector switch, metal enclosure EC/pH Monitoring Kit: includes 4G Monitor (24VAC, panel mount), 1 EC sensor, 1 pH sensor, calibration fluid packets (5 each of pH 7.0, pH 4.0, EC 1.41), PVC unions NMC Pro Irrigation Controller: 115VAC power supply, 250VA 24VAC transformer, includes 16 24VAC outputs (7 used by NetaFlex, 9 free), 8 digital inputs (1 used by NetaFlex, 7 free), 11 analog inputs (2 used by EC/pH Monitoring Kit, 9 free), data plug backup key, 6 expansion slots | 30912 | 0 | 0
33400-000013 | 31NF6F50CM10-2 | NetaFlex 3G: Low Flow (up to 50 GPM): includes 6 fertilizer dosing channels at 50 l/h (13 GPH), can be used for diluted acid (see manual for limitations), 220VAC three phase booster pump (CM10-2), electrical control box with disconnect, pump breaker, and Hand-Off-Auto selector switch, metal enclosure EC/pH Monitoring Kit: includes 4G Monitor (24VAC, panel mount), 1 EC sensor, 1 pH sensor, calibration fluid packets (5 each of pH 7.0, pH 4.0, EC 1.41), PVC unions NMC Pro Irrigation Controller: 115VAC power supply, 250VA 24VAC transformer, includes 16 24VAC outputs (7 used by NetaFlex, 9 free), 8 digital inputs (1 used by NetaFlex, 7 free), 11 analog inputs (2 used by EC/pH Monitoring Kit, 9 free), data plug backup key, 6 expansion slots | 30085 | 0 | 0
NETAFLEX 3G SPARE PARTS
Item Number | Model Number | Description | Price Each | Qty | Total
77100-013620 | 31FKLUCBC18B | Contactor for CM10-2 & 15-2 pump | 371 | 0 | 0
77600-001986 | 31NFTANK200L | WATER TANK 200L-BLUE55CM DIAM.114CM-HIGH | Call for Price | 0 | 0
33240-006878 | 31NFINLET | NetaFlex Inlet Kit | 578 | 0 | 0
33240-006660 | 31NFINLET2VLV | System Inlet (part of kit) | 122 | 0 | 0
71600-035968 | 3161FL323PLNOFLOAT | Float valve (part of kit) | 391 | 0 | 0
33240-006310 | 31NFINLETVLV2TANK | Float valve to tank adaptor (part of kit) | 191 | 0 | 0
33240-006400 | 31NFMANTANKINLET | Lower manifold to tank adaptor | Call for Price | 0 | 0
33240-006881 | 31NFPUMPINCM10-2 | Tank to Pump Inlet Kit for Grundfos CM10-2 | Call for Price | 0 | 0
33240-006879 | 31NFPUMPINCM15-2 | Tank to Pump Inlet Kit for Grundfos CM15-2 | Call for Price | 0 | 0
33240-006880 | 31NFPUMPOUTCM10-2 | Pump Outlet for Grundfos CM10-2 | Call for Price | 0 | 0
33240-006877 | 31NFPUMPOUTCM15-2 | Pump Outlet for Grundfos CM15-2 | Call for Price | 0 | 0
77400-032600 | 31NFOUTLETCHKVLV | Check valve (part of kit) | 163 | 0 | 0
77540-007100 | 31NFSCREENFILTER | Screen Filter 100 Mesh | 175 | 0 | 0
77540-007110 | 31NFSCRELEMENTPVCU | Screen Filter Element 100 Mesh | 26 | 0 | 0
77540-007120 | 31NFSCRELEMENTSS | Screen Filter Element 240 Mesh | 26 | 0 | 0
33240-002100 | 31FKIT3GMANIF | Upper / lower manifold | 380 | 0 | 0
33240-003200 | 31FK3SVENT13GPH | Venturi PVDF-M50 (13 GPH) | 280 | 0 | 0
33240-003250 | 31FK3SVENT13GPHD | Venturi PVDF-M50 (13 GPH) Dual | 290 | 0 | 0
33240-002370 | 31FK3SVENT150GPH | Venturi PVC-N600 (158 GPH) | 158 | 0 | 0
33240-002375 | 31FK3SVENT150GPHD | Venturi PVC-N600 (158 GPH) Dual | 170 | 0 | 0
33230-007500 | 31NF3GDCH13GPHV | NETAFLEX-DOSING CHANNEL-13GPH | 605 | 0 | 0
33230-501000 | 31NF3GDCH35GPHV | NETAFLEX-DOSING CHANNEL-35GPH | 574 | 0 | 0
33230-001680 | 31FK3GDCH95GPHV | FSA-CH-400L/H-S12-VITON-PP370 | 964 | 0 | 0
33240-002251 | 31FK3PVCRED50-05 | Reducer 50mm - 1/2" | 50 | 0 | 0
77300-016010 | - | PVC threaded plug 1/2" - male | Call for Price | 0 | 0
77300-016000 | - | Plug 1/4" | Call for Price | 0 | 0
76400-003503 | 55P4694804-B | Plastic Male 90º Elbow 8 mm x 1/4” (10/bag) | 59.4 | 0 | 0
00110-001810 | 6809020-160 | Pressure Gauge 0-160 psi, ¼” | 91 | 0 | 0
77400-027100 | 31PLUGDN8 | PVC threaded plug 3/4" - male | Call for Price | 0 | 0
33240-003050 | 31ECPHMANIFOLD | EC/pH manifold (single EC & pH) | 187 | 0 | 0
33120-008500 | 31SNSUNION | Union adapter set for EC/pH sensor | 95 | 0 | 0
45000-006705 | 31ECSENSABB4G | EC+TEMP SENSOR JUMO 12MM | 638 | 0 | 0
45000-006692 | 31PHSENS4GBNC | PH SENSOR JUMO 12MM GLASS W/BNC CONNECT | 345 | 0 | 0
75080-002900 | 31WLFLOAT.5 | Water level float 1/2" | 42 | 0 | 0
77600-014000 | 31NFTANKSEALFERT | Penetration seal for lower manifold to tank adaptor | 28 | 0 | 0
77600-006550 | 31NFTANKSEALINOUT | Penetration seal for Tank Inlet/Outlet | 28 | 0 | 0
77600-006510 | 31NFOVERFLOWSEAL | Penetration seal for Overflow assembly | 28 | 0 | 0
77100-007930 | 31NFLOWSWITCH | Low level switch | 86 | 0 | 0
33240-006220 | 31NFFLOWSWITCHCASE | Low level switch casing | 163 | 0 | 0
33240-006450 | 31NFOVERFLOW | Overflow assembly | Call for Price | 0 | 0
77800-027315 | 31FKPUMPCR45-1 | Grundfos CR45-1 Pump, Three Phase 60Hz | 9444 | 0 | 0
77800-003019 | 31FKPUMPCM10-2 | Grundfos CM10-2 Pump, Three Phase 60Hz | 1923 | 0 | 0
77800-002996 | 31FKPUMPCM15-2 | Grundfos CM15-2 Pump, Three Phase 60Hz | 2775 | 0 | 0
NMC PRO IRRIGATION CONTROLLER
Item Number | Model Number | Description | Price Each | Qty | Total
74340-003095 | 31NMCPRO | NMC Pro Irrigation Controller, 115VAC power supply, 80VA 24VAC transformer, includes 16 24VAC outputs, 8 digital inputs, data plug backup key, 7 expansion slots, double door enclosure, and external 115VAC surge suppressor | 7668 | 0 | 0
NMC PRO CONTROLLER COMMUNICATION OPTIONS
Item Number | Model Number | Description | Price Each | Qty | Total
74340-000020 | 31NMCAIR+KIT-VZ | NMC Air+ Kit for the NMC Pro or Junior controller, includes NMC Air+ Comm-box, Verizon cellular modem, 115VAC power supply, enclosure, and 1-year license. RS485 communication card is required but it is not included. If the NMC Pro does not already have the RS485 communication card, please select either 74340-009200 or 74340-012800. | 4834 | 0 | 0
74340-000021 | 31NMCAIR+COMBOX-VZ | NMC Air+ Comm-box with Verizon cellular modem (replacement part) | 4624 | 0 | 0
74340-000018 | 31NMCAIR+ANNUALFEE | NMC Air + Annual Subscription for NMC PRO and NMC JR PRO | 1200 | 0 | 0
NMC PRO & CLIMATE CONTROLLER SENSOR OPTIONS
Item Number | Model Number | Description | Price Each | Qty | Total
74340-004955 | 31NMCWEATHER | Weather Station for NMC Pro controller, includes solar radiation, wind speed, wind direction, temperature, humidity, and tipping rain bucket | 4677 | 0 | 0
74340-000002 | 31GHTRH | Greenhouse temperature and relative humidity kit, includes temperature sensor, relative humidity sensor, powered ventilation box | 1569 | 0 | 0
74340-004270 | 31GHT | Greenhouse temperature kit, includes temperature sensor and powered ventilation box | 891 | 0 | 0
74340-008200 | 31TEMP/RH | Temperature and relative humidity sensors with basic shield | 1535 | 0 | 0
74340-004300 | 31TEMP | Temperature sensor with basic shield | 286 | 0 | 0
00107-014020 | 31PT200-4-20MA | Pressure transducer, 200 psi, 4-20mA, 1/4 MIPT, M12 Male connector | 574 | 0 | 0
00107-014021 | 31PTCABLE2M | Pressure transducer, 2 m (6 ft), M12 Female connector | 33 | 0 | 0
33000-003315 | 31ECPHKIT4G | EC & pH Kit, includes 24VAC wall mount transmitter, 1 EC sensor, 1 pH sensor, calibration fluid packets (5 each of pH 7.0, pH 4.0, EC 1.41), PVC unions | 2036 | 0 | 0
NMC PRO EXPANSION OPTIONS
Item Number | Model Number | Description | Price Each | Qty | Total
74340-014100 | 31NMCPROXPANBX | NMC Pro Expansion Box (up to 3 per NMC Pro controller), 115VAC power supply, 350VA 24VAC transformer, includes expansion CPU with RS232/RS485 communication, 10 expansion slots, and enclosure. Requires input/output boards | 3476 | 0 | 0
74340-008500 | 31NMC64OB | Output board, 8 outputs, 24VAC (limit 5 per NMC Pro / NMC Pro expansion box) | 583 | 0 | 0
74340-008600 | 31NMC64OBDC | Output board, 8 outputs, dry contact (limit 8 per NMC Pro / NMC Pro expansion box) | 583 | 0 | 0
74340-008800 | 31NMC64IBDP | Input board, 8 digital/pulse inputs (limit 4 per NMC Pro / NMC Pro expansion box) | 539 | 0 | 0
74340-008900 | 31NMC64IBA | Input board, 11 analog inputs (limit 2 per NMC Pro / NMC Pro expansion box) | 626 | 0 | 0
74340-009530 | 31NMCPROLICENSEKEY | NMC Pro/DC RTU license key, 128 outputs | 1105 | 0 | 0
74340-009560 | 31NMCPROLICENSE256 | NMC Pro/DC RTU license key, 256 outputs | 2007 | 0 | 0
NMC PRO SPARE PARTS
Item Number | Model Number | Description | Price Each | Qty | Total
74340-004920 | 31NMCPRODISP | NMC Pro/DC Display with LED Backlight | 1191 | 0 | 0
74340-003300 | 31NMCPROKEY | NMC Pro/DC Keyboard for LED Backlight | 419 | 0 | 0
74340-020800 | 31NMCPRORIBBONS | NMC Pro/DC Display and Keyboard Ribbon Cable Set | Call for Price | 0 | 0
74340-014600 | 31NMCPROCPUCARD | NMC Pro CPU Card, includes SD Card | 2113 | 0 | 0
74340-012700 | 31NMCPROCPUEXP | NMC Pro Expansion CPU Card | 811 | 0 | 0
74340-014650 | 31NMCSDCARD | NMC Pro/DC/Jr Pro SD Card | 52 | 0 | 0
74340-007800 | 31NMC64IOBUSS | NMC Pro I/O Bus Card | 273 | 0 | 0
74340-007900 | 31NMC64PS | NMC Pro Power Supply Card, 115VAC | 903 | 0 | 0
74340-009300 | 31NMCPROPWR12V | NMC Pro Power Supply Card, 12VDC | 458 | 0 | 0
74340-008050 | 31NMCPROTRANS24 | NMC Pro 115/24VAC transformer (requires 74340-007900) | 242 | 0 | 0
74340-008500 | 31NMC64OB | NMC Pro Output card, 8 outputs, 24VAC (limit 5 per NMC Pro / NMC Pro expansion box) | 583 | 0 | 0
74340-008600 | 31NMC64OBDC | NMC Pro Output card, 8 outputs, dry contact (limit 8 per NMC Pro / NMC Pro expansion box) | 583 | 0 | 0
74340-008800 | 31NMC64IBDP | NMC Pro Input card, 8 digital/pulse inputs (limit 4 per NMC Pro / NMC Pro expansion box) | 539 | 0 | 0
74340-008900 | 31NMC64IBA | NMC Pro Input card, 11 analog inputs (limit 2 per NMC Pro / NMC Pro expansion box) | 626 | 0 | 0
74340-014500 | 31NMCPRODP | NMC Pro/DC/Jr Pro Data Plug (Gold) | 249 | 0 | 0
74340-009100 | 31NMCCR | NMC Pro/DC Communication Card RS232 / RS232 | 1524 | 0 | 0
74340-009200 | 31NMC64CC | NMC Pro/DC Communication Card RS485 / RS232 | 539 | 0 | 0
74340-012800 | 31NMCPRO2RS485 | NMC Pro/DC Communication Card RS485 / RS485 | 554 | 0 | 0
74340-016670 | 31NCMPROBOXDBL | NMC Pro Double Door Enclosure, includes box, metal door, metal back plate, and stickers | 1027 | 0 | 0
74340-001930 | 31NMCLATCHDOOR | NMC Pro Double Door Latch | 27 | 0 | 0
74340-003760 | 31NMCPLPBOX | NMC Pro/Jr Pro Power Supply Surge Suppressor | 257 | 0 | 0
74340-014700 | 31NMC64UPKIT | NMC 64 Upgrade Kit, includes NMC Pro CPU, SD Card, Digital Input Card V3 Chip, NMC Pro/DC/Jr Pro Data Plug (Gold) | 2588 | 0 | 0
NMC JUNIOR PRO
Item Number | Model Number | Description | Price Each | Qty | Total
74340-023960 | 31NMCJRPROLC | NMC Junior Pro Irrigation Controller, 115VAC power supply, 50VA 24VAC transformer, includes 15 24VAC outputs, 6 digital inputs, 5 analog inputs (1 EC, 1 pH, 2 Temperature, 1 Humidity sensor), data plug backup key, double door enclosure, and external 115VAC surge suppressor | 3290 | 0 | 0
NMC JUNIOR PRO COMMUNICATION OPTIONS
Item Number | Model Number | Description | Price Each | Qty | Total
74340-000020 | 31NMCAIR+KIT-VZ | NMC Air+ Kit for the NMC Pro or Junior controller, includes NMC Air+ Comm-box, Verizon cellular modem, 115VAC power supply, enclosure, and 1-year license. RS485 communication card is required but it is not included. If the NMC Junior Pro does not already have the RS485 communication card, please select 74340-006700. | 4834 | 0 | 0
74340-000021 | 31NMCAIR+COMBOX-VZ | NMC Air+ Comm-box with Verizon cellular modem (replacement part) | 4624 | 0 | 0
74340-000018 | 31NMCAIR+ANNUALFEE | NMC Air + Annual Subscription for NMC PRO and NMC JR PRO | 1200 | 0 | 0
NMC JUNIOR PRO SENSOR OPTIONS
Item Number | Model Number | Description | Price Each | Qty | Total
74340-000002 | 31GHTRH | Greenhouse temperature and relative humidity kit, includes temperature sensor, relative humidity sensor, powered ventilation box | 1569 | 0 | 0
74340-004270 | 31GHT | Greenhouse temperature kit, includes temperature sensor and powered ventilation box | 891 | 0 | 0
74340-008200 | 31TEMP/RH | Temperature and relative humidity sensors with basic shield | 1535 | 0 | 0
74340-004300 | 31TEMP | Temperature sensor with basic shield | 286 | 0 | 0
33000-003315 | 31ECPHKIT4G | EC & pH Kit, includes 24VAC wall mount transmitter, 1 EC sensor, 1 pH sensor, calibration fluid packets (5 each of pH 7.0, pH 4.0, EC 1.41), PVC unions | 2036 | 0 | 0
NMC JUNIOR PRO SPARE PARTS
Item Number | Model Number | Description | Price Each | Qty | Total
74340-004920 | 31NMCPRODISP | NMC Pro/DC/Jr Pro Display with LED Backlight | 1191 | 0 | 0
74340-009980 | 31NMCJRPROLEDCPU | NMC Jr Pro CPU & Keyboard for LED Backlight | 1053 | 0 | 0
74340-014650 | 31NMCSDCARD | NMC Pro/DC/Jr Pro SD Card | 52 | 0 | 0
74340-014500 | 31NMCPRODP | NMC Pro/DC/Jr Pro Data Plug (Gold) | 249 | 0 | 0
74340-004973 | 31NMCJRDISPCABLE | NMC Jr Pro Ribbon Cable for Display | 28 | 0 | 0
74340-004972 | 31NMCJRINOUTCABLE | NMC Jr Pro Ribbon Cable for I/O Card | 28 | 0 | 0
74340-004995 | 31NMCJRPSCARD115V | NMC Jr Pro Power Supply Card, 115VAC | 604 | 0 | 0
74340-004997 | 31NMCJRPSDC | NMC Jr Pro Power Supply Card, 12VDC | 458 | 0 | 0
74340-006500 | 31NMC15I/OCABLE | NMC Jr Pro Power Supply I/O Card Bridge | 46 | 0 | 0
74340-005103 | 31NMCJRINOUTCHIP | NMC Jr Pro I/O Control Chip | 28 | 0 | 0
74340-009490 | 31NMCJRINOUTCARD | NMC Jr Pro I/O Card, 15 outputs, 6 digital inputs, 5 analog inputs (1 EC, 1 pH, 2 Temperature, 1 Humidity) | 787 | 0 | 0
74340-006600 | 31NMC15RS232 | NMC Jr Pro Communication Card, RS232 | 615 | 0 | 0
74340-006700 | 31NMCJRRS485 | NMC Jr Pro Communication Card, RS485 | 615 | 0 | 0
74340-014750 | 31NMCJRDDBOX | NMC Jr Pro Double Door Enclosure, includes box, metal door, metal backplate (requires 74340-016560) | 281 | 0 | 0
74340-016560 | 31NMCJRSTICKER | NMC Jr Pro Sticker | 52 | 0 | 0
74340-006650 | 31NMCJRDCLATCH | NMC DC/Jr Pro Door Latch | 23 | 0 | 0
74340-003760 | 31NMCPLPBOX | NMC Power Supply Surge Suppressor | 257 | 0 | 0
NMC DC
Item Number | Model Number | Description | Price Each | Qty | Total
74340-013950 | 31NMCDC | NMC DC Irrigation Controller, 12VDC charging regulator, includes 8 12VDC latching outputs, 4 digital inputs, 4 analog inputs, data plug backup key, double door enclosure, requires solar panel or 12VDC power supply | 4707 | 0 | 0
NMC DC SENSOR OPTIONS
Item Number | Model Number | Description | Price Each | Qty | Total
74340-000002 | 31GHTRH | Greenhouse temperature and relative humidity kit, includes temperature sensor, relative humidity sensor, powered ventilation box | 1569 | 0 | 0
74340-004270 | 31GHT | Greenhouse temperature kit, includes temperature sensor and powered ventilation box | 891 | 0 | 0
74340-008200 | 31TEMP/RH | Temperature and relative humidity sensors with basic shield | 1535 | 0 | 0
74340-004300 | 31TEMP | Temperature sensor with basic shield | 286 | 0 | 0
00107-014020 | 31PT200-4-20MA | Pressure transducer, 200 psi, 4-20mA, 1/4 MIPT, M12 Male connector | 574 | 0 | 0
00107-014021 | 31PTCABLE2M | Pressure transducer, 2 m (6 ft), M12 Female connector | 33 | 0 | 0
33000-003315 | 31ECPHKIT4G | EC & pH Kit, includes 24VAC wall mount transmitter, 1 EC sensor, 1 pH sensor, calibration fluid packets (5 each of pH 7.0, pH 4.0, EC 1.41), PVC unions | 2036 | 0 | 0
NMC DC EXPANSION UNITS
Item Number | Model Number | Description | Price Each | Qty | Total
74340-009530 | 31NMCPROLICENSEKEY | NMC Pro/DC RTU license key, 128 outputs | 1105 | 0 | 0
74340-009560 | 31NMCPROLICENSE256 | NMC Pro/DC RTU license key, 256 outputs | 2007 | 0 | 0
NMC DC SPARE PARTS
Item Number | Model Number | Description | Price Each | Qty | Total
74340-004920 | 31NMCPRODISP | NMC Pro/DC/Jr Pro Display with LED Backlight | 1191 | 0 | 0
74340-003300 | 31NMCPROKEY | NMC Pro/DC Keyboard for LED Backlight | 419 | 0 | 0
74340-008300 | 31NMCPROFLATCABL | NMC Pro/DC Display and Keyboard Ribbon Cable Set | 128 | 0 | 0
74340-022000 | 31NMCDCCPU | NMC DC CPU Card, without SD Memory Card | 1881 | 0 | 0
74340-014650 | 31NMCSDCARD | NMC Pro/DC/Jr Pro SD Card | 52 | 0 | 0
74340-022300 | 31NMCDCBUS | NMC DC I/O Bus Card | 96 | 0 | 0
74340-022100 | 31NMCDCINP | NMC DC Input Card, 4 digital, 4 analog (Temp, 0-5v, 4-20mA user selectable) | 515 | 0 | 0
74340-022400 | 31NMCDCPOWER | NMC DC Power supply and charging regulator card | 291 | 0 | 0
00005-009500 |  | 9VDC Backup Battery | Call for Price | 0 | 0
74340-022200 | 31NMCLATCHOUT | NMC DC Latching Output Card, 8 outputs (limit 3 per NMC DC controller) | 537 | 0 | 0
74340-009100 | 31NMCCR | NMC Pro/DC Communication Card RS232 / RS232 | 1524 | 0 | 0
74340-009200 | 31NMC64CC | NMC Pro/DC Communication Card RS485 / RS232 | 539 | 0 | 0
74340-012800 | 31NMCPRO2RS485 | NMC Pro/DC Communication Card RS485 / RS485 | 554 | 0 | 0
74340-014500 | 31NMCPRODP | NMC Pro/DC/Jr Pro Data Plug (Gold) | 249 | 0 | 0
74340-014760 | 31NMCDCBOX | NMC DC Double Door Enclosure, includes box, metal door, metal back plate, and stickers | 635 | 0 | 0
74340-006650 | 31NMCJRDCLATCH | NMC DC/Jr Door Latch | 23 | 0 | 0
74340-023500 | 31SOLARPANEL | NMC DC Solar Panel Kit, includes 20VA solar panel, 12VDC 9AH SLA battery, mounting bracket | 1573 | 0 | 0
74340-022850 | 31BRKTNMCDC | NMC DC Pole mount bracket with battery holder | 363 | 0 | 0
EC/PH 4G
Item Number | Model Number | Description | Price Each | Qty | Total
33000-003315 | 31ECPHKIT4G | EC & pH Kit, includes 4G Monitor (24VAC, wall mount), 1 EC sensor, 1 pH sensor, calibration fluid packets (5 each of pH 7.0, pH 4.0, EC 1.41), PVC unions | 2036 | 0 | 0
74340-003580 | 31ECPH4G24ACWL | EC & pH 4G Monitor for single EC & pH sensor, 24VAC, wall mount, requires EC & pH sensors | 974 | 0 | 0
74340-003581 | 31ECPH4GDL24ACPL | EC & pH 4G Monitor for single EC & pH sensor, 24VAC, panel mount, requires EC & pH sensors | 1124 | 0 | 0
74340-003582 | - | EC & pH 4G Monitor for dual EC & pH sensors, 24VAC, panel mount, requires 2 EC & 2 pH sensors | 1881 | 0 | 0
45000-006705 | 31ECSENSABB4G | EC & temperature sensor, JUMO 12mm, bare wire | 638 | 0 | 0
45000-006692 | 31PHSENS4GBNC | pH sensor, JUMO 12mm, glass, BNC connector | 345 | 0 | 0
33120-008500 | 31SNSUNION | EC/pH sensor union set, ¾" MIPT | 95 | 0 | 0
45000-006480 | 31ECCALIB | EC Calibration fluid, 20mL | 4.6 | 0 | 0
45000-006440 | 31PHBUFFER4.0 | pH Calibration fluid, 20mL, pH 4.0 | 4.6 | 0 | 0
45000-006460 | 31PHBUFFER7.0 | pH Calibration fluid, 20mL, pH 7.0 | 4.6 | 0 | 0
INPUTS/SENSORS
Item Number | Model Number | Description | Price Each | Qty | Total
74340-004955 | 31NMCWEATHER | Weather Station for NMC Pro controller, includes solar radiation, wind speed, wind direction, temperature, humidity, and tipping rain bucket | 4677 | 0 | 0
74340-000002 | 31GHTRH | Greenhouse temperature and relative humidity kit, includes temperature sensor, relative humidity sensor, powered ventilation box | 1569 | 0 | 0
74340-004270 | 31GHT | Greenhouse temperature kit, includes temperature sensor and powered ventilation box | 891 | 0 | 0
74340-008200 | 31TEMP/RH | Temperature and relative humidity sensors with basic shield | 1535 | 0 | 0
74340-004300 | 31TEMP | Temperature sensor with basic shield | 286 | 0 | 0
74340-010400 | 31RS | Radiation shield for temperature and relative humidity sensor | 615 | 0 | 0
74340-010300 | 31CTS | Temperature sensor | 179 | 0 | 0
74340-010100 | 31CB | Climatic box, for housing temperature and relative humidity sensors | 903 | 0 | 0
74340-010200 | 31CCBF | Climatic box fan, for adding powered ventilation to climatic box | 191 | 0 | 0
00107-014020 | 31PT200-4-20MA | Pressure transducer, 200 psi, 4-20mA, 1/4 MIPT, M12 Male connector | 574 | 0 | 0
00107-014021 | 31PTCABLE2M | Pressure transducer, 2 m (6 ft), M12 Female connector | 33 | 0 | 0
70261-011000 | 36FM.75RG.1 | Fertilizer flow meter, ¾" BSP w/ NPT adapters, 0.1 USG/pulse | 504 | 0 | 0
OUTPUTS/CONTROLS
Item Number | Model Number | Description | Price Each | Qty | Total
35500-001300 | 3135500-001300 | Aquative solenoid, 24VAC, with bracket | 104 | 0 | 0
35500-002000 | 3135500-002000 | Aquative solenoid, 12VDC latching, with bracket | 99 | 0 | 0
35500-002100 | 61AQTVDCL2 | Aquative solenoid (2), 12VDC latching, with bracket | 243 | 0 | 0
35500-002200 | 61AQTVDCL3 | Aquative solenoid (3), 12VDC latching, with bracket | 285 | 0 | 0
35500-002300 | 61AQTVDCL4 | Aquative solenoid (4), 12VDC latching, with bracket | 345 | 0 | 0
00107-005450 | 28RELAY12VDCL | Output relay DPDT, 12VDC latching, with base | 213 | 0 | 0
77100-012020 | 31NETACIDCON | Direct pump control box, single phase up to 20 Amp, includes Hand-Off-Auto selector switch, solid state relay | 745 | 0 | 0
NUF
Item Number | Model Number | Description | Price Each | Qty | Total
70180-000100 | 31NUF8GPMUS | NUF 8 GPM US | 46987 | 0 | 0
70180-000101 | 31NUF20GPMUS | NUF 20 GPM US | 78842 | 0 | 0
72300-001410 | 31VDE63MM2INKIT | TRANS. KIT FOR MIX. VLV. 63 TO 2" GLUE | 109 | 0 | 0
72300-001250 | 31VDEVK21-63 | MIXING VALVE VDE VK21-63 24V90SEC 90DEG | 4730 | 0 | 0
NUF 8 GPM Replacement Parts
Item Number | Model Number | Description | Price Each | Qty | Total
70180-000215 | 31NUFMEMBRANE | NUF SINGLE REPLACEMENT MEMBRANE | 51 | 0 | 0
70180-000120 | 31NUF0.75INCHVALVE | NUF Diaphragm valve 3/4" w/o solenoid | Call for Price | 0 | 0
70180-000125 | 31NUF1INCHVALVE | NUF DIAPHRAGM VALVE 1" W/O SOLENOID | 182 | 0 | 0
70180-000130 | 31NUFAIRVALVE | NUF AIR VALVE | 264 | 0 | 0
70180-000140 | 31NUF40MEMBRANES | NUF MODULE - 40 MEMBRANES | 0 | 0 | 0
70180-000235 |  | NUF REPLACEMENT DISCS 100 MICRON | 96 | 0 | 0
70180-000145 | 31NUF25MMPVC | NUF PVC PIPE 25 - BY METER | 22 | 0 | 0
70180-000150 | 31NUF32MMPVC | NUF PVC PIPE 32 - BY METER | 33 | 0 | 0
70180-000155 | 31NUF40MMPVC | NUF PVC PIPE 40 - BY METER | 41 | 0 | 0
70180-000160 | 31NUF25MMSVCKIT | NUF PVC SERVICE KIT 25 | 74 | 0 | 0
70180-000165 | 31NUF32MMSVCKIT | NUF PVC SERVICE KIT 32 | 92 | 0 | 0
70180-000170 | 31NUF40MMSVCKIT | NUF PVC SERVICE KIT 40 | 110 | 0 | 0
70180-000175 | 31NUFSOLENOIDSET | NUF SOLENOID SET | 1561 | 0 | 0
70180-000180 | 31NUFCVSLNDACCESS | NUF SOLENOID ACCESSORIES CONTROL VALVE | 320 | 0 | 0
70180-000185 | 31NUFPGSLNDACCESS | NUF SOLENOID ACCESSORIES PRESSURE GAUGE | 63 | 0 | 0
70180-000190 | 31NUFAIRCOMPRESS | NUF AIR COMPRESSOR | 718 | 0 | 0
70180-000228 |  | NUF PUMP 8GPM | 762 | 0 | 0
NUF 20 GPM Replacement Parts
Item Number | Model Number | Description | Price Each | Qty | Total
70180-000215 | 31NUFMEMBRANE | NUF SINGLE REPLACEMENT MEMBRANE | 51 | 0 | 0
70180-000120 | 31NUF0.75INCHVALVE | NUF Diaphragm valve 3/4" w/o solenoid | Call for Price | 0 | 0
70180-000125 | 31NUF1INCHVALVE | NUF DIAPHRAGM VALVE 1" W/O SOLENOID | 182 | 0 | 0
70180-000130 | 31NUFAIRVALVE | NUF AIR VALVE | 264 | 0 | 0
70180-000140 | 31NUF40MEMBRANES | NUF MODULE - 40 MEMBRANES | 0 | 0 | 0
70180-000235 |  | NUF REPLACEMENT DISCS 100 MICRON | 96 | 0 | 0
70180-000145 | 31NUF25MMPVC | NUF PVC PIPE 25 - BY METER | 22 | 0 | 0
70180-000150 | 31NUF32MMPVC | NUF PVC PIPE 32 - BY METER | 33 | 0 | 0
70180-000155 | 31NUF40MMPVC | NUF PVC PIPE 40 - BY METER | 41 | 0 | 0
70180-000160 | 31NUF25MMSVCKIT | NUF PVC SERVICE KIT 25 | 74 | 0 | 0
70180-000165 | 31NUF32MMSVCKIT | NUF PVC SERVICE KIT 32 | 92 | 0 | 0
70180-000170 | 31NUF40MMSVCKIT | NUF PVC SERVICE KIT 40 | 110 | 0 | 0
70180-000175 | 31NUFSOLENOIDSET | NUF SOLENOID SET | 1561 | 0 | 0
70180-000180 | 31NUFCVSLNDACCESS | NUF SOLENOID ACCESSORIES CONTROL VALVE | 320 | 0 | 0
70180-000185 | 31NUFPGSLNDACCESS | NUF SOLENOID ACCESSORIES PRESSURE GAUGE | 63 | 0 | 0
70180-000190 | 31NUFAIRCOMPRESS | NUF AIR COMPRESSOR | 718 | 0 | 0
70180-000195 | 31NUF20GPMPUMP | NUF PUMP 20GPM | 3487 | 0 | 0
70180-000200 | 31NUF20GPMSEALKIT | NUF MECHANICAL SEAL KIT FOR PUMP 20GPM | 698 | 0 | 0
NUTRISOLVE DISSOLVING TANK AND VALVE BRIDGE
Item Number | Model Number | Description | Price Each | Qty | Total
33800-000001 | 31NSOLVEVALBRIDGE | Nutrisolve Valve Bridge 60Hz 1600L ASTM | 7870 | 0 | 0
33800-001052 | 31NSOLVEDISOLVTANK | NTS Dissolving Tank and Accessories ASTM | 10851 | 0 | 0
NUTRISOLVE DISSOLVING TANK SPARE PARTS
Item Number | Model Number | Description | Price Each | Qty | Total
77600-010350 | 31NSPOLYTANK1600L | Poly Tank, 1600 Liter with Legs, Drain and Level Indicator | 2961 | 0 | 0
45000-040201 | 31NSTANKBASKETSS | Stainless Steel basket for 1600 Liter Tank | 1971 | 0 | 0
33820-002100 | 31NSDISSOLVINGFLT | Dissolving Flute | 60 | 0 | 0
33820-002120 | 31NSEDUCTORSET | Eductor Set | 255 | 0 | 0
33220-006600 | 31NSLOWSWITCHASY | Low-level Switch Assembly | 116 | 0 | 0
33820-003110 | 31NSTANKLOUT1600L | Tank Outlet | 200 | 0 | 0
77600-012300 | 31NSTANKCOVER1600L | Cover for Poly Tank 1600 Liter with Door | 752 | 0 | 0
33820-003120 | 31NSFILLMANIFOLD | Filling Manifold | 83 | 0 | 0
33820-002110 | 31NSREAREDUCTMANIF | Rear Eductor Manifold | 727 | 0 | 0
NUTRISOLVE VALVE BRIDGE SPARE PARTS
Item Number | Model Number | Description | Price Each | Qty | Total
77800-023260 | 31NSPUMPCDX200-206 | Valve Bridge Pump, Single Phase 220V | 1193 | 0 | 0
33820-001020 | 31NSVLVMANIFOLD | Manifold, Valve bridge | 225 | 0 | 0
33820-003140 | 31NSPMPOUTLT200-20 | Pump Outlet CDX 200/20 | 174 | 0 | 0
45000-040000 | 31NSFRAMEVLVBRDG | Aluminum Frame for Valve Bridge | 730 | 0 | 0
33820-003150 | 31NSPUMPINLET | Pump Inlet CDX 200/20 | 29 | 0 | 0
33820-003170 | 31NSFRESHINLET | Pump Fresh Water Inlet | 30 | 0 | 0
33820-003160 | 31NSSOLTANKOUTLET | Solution Tank Outlet | 26 | 0 | 0
70640-003210 | 31NSSCRNFILTER1.5 | Screen Filter, 1.5", 40 Mesh, Chemical-Resistant | 213 | 0 | 0
77120-003010 | 31NSSWB1X220X1.5KW | Nutrisolve Switchboard 1 x 220 v 1.5 Kw | 2309 | 0 | 0
77540-003350 | 31NSPRESSGAUGE | Nutrisolve Pressure gauge 250 glz 8 bar ¼" bsp | 23 | 0 | 0
COMMISSIONING FEES
Item Number | Model Number | Description | Price Each | Qty | Total
79900-006100 | 31AIRTRAVEL | Air Travel, Round Trip | 1750 | 0 | 0
79900-006180 | 31VEHICLETRAVEL | Vehicle Travel / Hour | 155 | 0 | 0
79900-006160 | 31DAILYEXPENSES | Daily Expenses | 725 | 0 | 0
79900-006120 | 31ONSITESERVICE | Commissioning, Service, Training Onsite / Day / Technician | 1700 | 0 | 0
79900-006140 | 31HOURLYSERVICE | Commissioning, Service, Training / Hour / Technician, 1-hour increments | 220 | 0 | 0
79900-006150 | 31PHONESERVICE | Remote support, phone or via remote web meeting | 188 | 0 | 0
79900-006125 | 31ONSITERETROFIT | Installation, customization / Hour / Technician, 1-hour increments | 328 | 0 | 0